## Reference
Template Tabs | Element Name | Element Description | Element Type | Size | Required | Allowed Values | Business Rule | Notes
Release | FacilityID | Facility ID | string | 30
Release, Substance, Source, Cause, Corrective Action Strategy | ReleaseID | Unique identifier for the UST release | string | 50 | Y
Release | TankIDAssociatedwithRelease | Tank ID associated with release | string | 50
Release | FederallyReportableRelease | Is this a federally reportable UST system release? | string | 7 |  | Y | Yes No Unknown
Release | SiteName | UST release site name | string | 200
Release | SiteAddress | Site address | string | 100
Release | SiteAddress2 | Site address 2 | string | 100
Release | SiteCity | Site city | string | 100
Release | Zipcode | Zip code | string | 10
Release | County | County | string | 100
Release | State | State | string | 2 |  | Y | [See States tab]
Release | EPARegion | EPA region | integer | 2 |  | Y | 1 2 3 4 5 6 7 8 9 10
Release | FacilityType | Facility type | string | 50 |  | Y | [See Facility Types tab]
Release | TribalSite | Is this release on federally recognized tribal land? | string | 7 |  | Y | Yes No Unknown
Release | Tribe | Tribe name | string | 50 |  |  |  | Conditionally required if "Is this release on federally recognized tribal land" is "Yes".
Release | Latitude | Latitude | decimal | 9
Release | Longitude | Longitude | decimal | 9
Release | CoordinateSource | Coordinate source | string | 17 |  | Y | Map interpolation GPS PLSS Geocoded address Other Unknown
Release | USTReleaseStatus | UST release status | string | 35 | Y | Y | Active: general / open release Active: post corrective action monitoring Active: corrective action Active: site investigation Active: stalled No further action Unknown Other
Release | ReportedDate | Reported date (if no reported date then discovered date) | date
Release | NFADate | No further action/site closure date | date
Release | MediaImpactedSoil | Media impacted: soil | string | 3 |  | Y | Yes No
Release | MediaImpactedGroundwater | Media impacted: groundwater | string | 3 |  | Y | Yes No
Release | MediaImpactedSurfaceWater | Media impacted: surface water | string | 3 |  | Y | Yes No
Release | MediaImpactedSoilGas | Media impacted: soil gas |  |  |  |  | Yes No
Release | ReleaseDiscovered | How was the release discovered? | string | 47 |  | Y | At tank system closure/removal Off-site impact/third party general Third-party drinking well Vapor intrusion Surface or storm water discharge, impact to utilities Environmental assessment Compliance inspection Overfill Automatic Tank Gauging ATG Groundwater monitoring Interstitial monitoring Statistical Inventory Reconciliation SIR Tank tightness testing Vapor monitoring Other Unknown Line Tightness Testing System replacements/repairs Release Detection: other | Add "Line Tightness Testing"; (See in at least CA and CT); Add "System upgrade / repairs" (need to ask Russ about nuance)- (see OR, PA example)
Release | ClosedWithContamination | Was the site closed/NFA with contamination in place? | string | 7 |  | Y | Yes No Unknown
Release | NoFurtherActionLetterURL | No further action letter (tribal only) | string | 2000 |  |  |  | Only applicable if TribalSite = 'Yes'
Release | MilitaryDoDSite | Is this release or associated facility at a DoD/military site? | string | 7 |  | Y | Yes No Unknown
Release | ReleaseComment | Additional information about the Release, provided by the submitting organization | string | 4000
Substance | SubstanceReleased | Substance released | string | 105 |  | Y | [See Substances tab]
Substance | QuantityReleased | Quantity released | decimal | 9
Substance | Unit | Quantity released unit (e.g. gallons) | string | 20
Substance | SubstanceComment | Additional information about the Substance, provided by the submitting organization | string | 4000
Source | SourceOfRelease | Source of release | string | 15 |  | Y | Dispenser Piping Submersible turbine pump Tank Other Unknown Delivery problem Vent lines | Add "vent lines" see MT
Source | SourceComment | Additional information about the Source, provided by the submitting organization | string | 4000
Cause | CauseOfRelease | Cause of release | string | 70 |  | Y | Corrosion Damage to dispenser Damage to dispenser hose Delivery overfill Dispenser spill Dope/sealant Flex connector failure Human error Motor vehicle accident Overfill general Piping failure Shear valve failure Spill bucket failure Tank corrosion Tank damage Tank removal Weather/natural disaster i.e., hurricane, flooding, fire, earthquake Other Unknown Install problem General spill Physical/mechanical damage Historical
Cause | CauseComment | Additional information about the Cause, provided by the submitting organization | string | 4000
Corrective Action Strategy | CorrectiveActionStrategy | Corrective action strategy | string | 43 |  | Y | Air sparging/bio sparging Air stripping Alternative drinking water Barrier wall - slurry wall, solid, or oleophobic Bioventing Capping Carbon injection or placement in excavation Chemical oxidation Enclosed space pressurization Enhanced anaerobic oxidative bioremediation Excavation and hauling or treatment In-situ groundwater remediation LNAPL skimming Monitored natural attenuation Multi/dual-phase extraction MPE Natural source zone depletion Nutrient injection or placement in excavation Oxidizer moitoring well socks Oxygen or oxydizer injection or placement in excavation Passive or bail product recovery Point of use water treatment Pump and treat Soil vapor extraction SVE Sub sealing/sub slab barrier Subslab venting Sulfate injection or surface placement Surfactant injection Treatment wall Vacuum vaporizing well UVB, ART Other Unknown
Corrective Action Strategy | CorrectiveActionStrategyStartDate | Corrective action strategy start date | date
Corrective Action Strategy | CorrectiveActionStrategyComment | Additional information about the Corrective Action Strategy, provided by the submitting organization | string | 4000

## Facility Types lookup
Facility Types
Agricultural/farm
Auto dealership/auto maintenance & repair
Aviation/airport (non-rental car)
Bulk plant storage/petroleum distributor
Commercial
Contractor
Federal government
Hospital (or other medical)
Industrial
Marina
Military
Other
Railroad
Rental Car
Residential
Retail fuel sales (non-marina)
School
State/local government
Telecommunication facility
Trucking/transport/fleet operation
Unknown
Utility
Wholesale
Vacant | template addition
Government (unspecified) | template addition

## States lookup
States
AK
AL
AR
AS
AZ
CA
CO
CT
DC
DE
FL
GA
GU
HI
IA
ID
IL
IN
KS
KY
LA
MA
MD
ME
MI
MN
MO
MP
MS
MT
NC
ND
NE
NH
NJ
NM
NV
NY
OH
OK
OR
PA
PR
RI
SC
SD
TN
TT
TX
UT
VA
VI
VT
WA
WI
WV
WY

## Substances lookup
Substance Group | Substance
Aviation | Aviation biofuel
Aviation | Aviation gasoline
Aviation | Biojet (diesel)
Aviation | Jet fuel
Aviation | Sustainable aviation fuel/aviation fuel blend
Aviation | Unknown aviation gas or jet fuel
Diesel | 100% biodiesel (B100, not federally regulated) | DO NOT include THIS SUBSTANCE, if only fuel, remove the associated release
Diesel | Low Sulfur Diesel
Diesel | Diesel blend containing 99% to less than 100% biodiesel
Diesel | Diesel blend containing greater than 20% and less than 99% biodiesel
Diesel | Diesel blends containing greater than 5% and up to 20% or less biodiesel
Diesel | Diesel fuel (ASTM D975), can contain 0-5% biodiesel
Diesel | Diesel blend (b-unknown)
Diesel | Diesel fuel (known to contain 0% biodiesel)
Diesel | Off-road diesel/dyed diesel
Gasoline | E-85/Flex Fuel (E51-E83)
Gasoline | Ethanol blend gasoline (e-unknown)
Gasoline | Gasoline (non-ethanol)
Gasoline | Gasoline (unknown type)
Gasoline | Gasoline E-10 (E1-E10)
Gasoline | Gasoline E-15 (E-11-E15)
Gasoline | Gasoline/ethanol blend containing more than 83% and less than 98% ethanol
Gasoline | Gasoline/ethanol blends containing greater than 15% and less than 51% ethanol
Gasoline | Leaded gasoline
Gasoline | Racing fuel
Gasoline | Unleaded gasoline (unknown type) | template addition
Gasoline | E-98
Heating | Biofuel/bioheat
Heating | Heating oil/fuel oil 1 | Prevention template updated this to "Heating oil/fuel oil 1/Kerosene"
Heating | Heating oil/fuel oil 2
Heating | Heating oil/fuel oil 4
Heating | Heating oil/fuel oil 5
Heating | Heating oil/fuel oil 6
Heating | Heating/fuel oil # unknown
Oil | Hydraulic oil
Oil | Lube/motor oil (new)
Oil | Used oil/waste oil
Other | Antifreeze
Other | Diesel exhaust fluid (DEF, not federally regulated)
Other | Hazardous substance
Other | Kerosene
Other | Marine fuel
Other | Non-federally regulated substance (general)
Other | Other or mixture
Other | Petroleum product
Other | Solvent
Other | Unknown
Other | Mineral Spirits | template addition
Other | Hazardous waste (not UST Regulations) | template addition
Other | Water Oil Mix | template addition
Other | Oil water seperator contents | template addition
Other | Not petroleum | DO NOT INCLUDE THIS SUBSTANCE, if only fuel for release, do not include associated release

## Sources lookup
Sources
Delivery problem
Dispenser
Other
Piping
Submersible turbine pump
Tank
Unknown
Vent lines | suggested addition

## Causes lookup
Causes
Corrosion
Damage to dispenser
Damage to dispenser hose
Delivery overfill
Dispenser spill
Dope/sealant
Flex connector failure
General spill
Historical
Human error
Install problem
Motor vehicle accident
Other
Overfill (general)
Physical/mechanical damage
Piping failure
Shear valve failure
Spill bucket failure
Tank corrosion
Tank damage
Tank removal
Unknown
Weather/natural disaster (i.e., hurricane, flooding, fire, earthquake)
Vent line leak | template addition

## Corrective Actions lookup
Corrective Actions - Updated list below in blue
Air sparging/bio sparging
Air stripping
Alternative drinking water
Barrier wall - slurry wall, solid, or oleophobic
Bioventing
Capping
Carbon injection or placement in excavation
Chemical oxidation
Enclosed space pressurization
Enhanced anaerobic oxidative bioremediation
Excavation and hauling or treatment
In-situ groundwater remediation
LNAPL skimming
Monitored natural attenuation
Multi/dual-phase extraction (MPE)
Natural source zone depletion
Nutrient injection or placement in excavation
Other
Oxidizer moitoring well socks
Oxygen or oxydizer injection or placement in excavation
Passive or bail product recovery
Point of use water treatment
Pump and treat
Soil vapor extraction (SVE)
Sub sealing/sub slab barrier
Subslab venting
Sulfate injection or surface placement
Surfactant injection
Treatment wall
Unknown
Vacuum vaporizing well (UVB, ART)
Replace corrective action strategies with list below
Air sparging/bio sparging | 1 | Air sparging/bio sparging
Air stripping | 2 | Air stripping
Alternative drinking water (includes new wells or water line connections) | 3 | Alternative drinking water
Chemical oxidation (includes ORC either injected or placed in excavations, down hole socks) | 4 | Barrier wall - slurry wall, solid, or oleophobic | y | Engineering control (includes subslab venting, capping, engineered barrier or trench)
Excavation and hauling or treatment | 5 | Bioventing | y
Monitored natural attenuation | 6 | Capping | y
Multi/dual-phase extraction (MPE) | 7 | Carbon injection or placement in excavation | y
Drinking water treatment, includes point of use and point of entry treatment. | 8 | Chemical oxidation
Pump and treat | 9 | Enclosed space pressurization | y
Soil vapor extraction (SVE) | 10 | Enhanced anaerobic oxidative bioremediation | y
LNAPL abatement (includes skimming, well socks, free product LNAPL recovery systems, baiing) | 11 | Excavation and hauling or treatment
Insitu biological or chemical treatment (includes aerobic or anaerobic injections with or without enzyme mixes and chemical enhancements as these are typically these are "blended" to meet site conditions). | 12 | In-situ groundwater remediation | y
Insitu chemical oxidation (includes ORC, oxidizer socks) | 13 | LNAPL skimming
Carbon injection or placement in excavation | 14 | Monitored natural attenuation
Institutional control | 15 | Multi/dual-phase extraction (MPE)
Engineering control (includes subslab venting, capping, engineered barrier or trench) | 16 | Natural source zone depletion | y
Enhanced vacuum recovery (vacuum truck events with or without surfactant injection/recovery | 17 | Nutrient injection or placement in excavation | y
Other | 18 | Oxidizer moitoring well socks |  | Insitu chemical oxidation (includes ORC, oxidizer socks)
Unknown | 19 | Oxygen or oxydizer injection or placement in excavation |  | Insitu chemical oxidation (includes ORC, oxidizer socks)
Soil venting | 20 | Passive or bail product recovery | y
Air sparging/soil vapor extraction | 21 | Point of use water treatment |  | Drinking water treatment, includes point of use and point of entry treatment.
| 22 | Pump and treat
| 23 | Soil vapor extraction (SVE)
| 24 | Slab sealing/sub-slab barrier | y | Engineering control (includes subslab venting, capping, engineered barrier or trench)
| 25 | Subslab venting | y | Engineering control (includes subslab venting, capping, engineered barrier or trench)
| 26 | Sulfate injection or surface placement | y
| 27 | Surfactant injection | y
| 28 | Treatment wall | y
| 29 | Vacuum vaporizing well (UVB, ART)
| 30 | Other
| 31 | Unknown

## Release
FacilityID | TankIDAssociatedwithRelease | ReleaseID | FederallyReportableRelease | SiteName | SiteAddress | SiteAddress2 | SiteCity | Zipcode | County | State | EPARegion | FacilityType | TribalSite | Tribe | Latitude | Longitude | CoordinateSource | USTReleaseStatus | ReportedDate | NFADate | MediaImpactedSoil | MediaImpactedGroundwater | MediaImpactedSurfaceWater | ReleaseDiscovered | ClosedWithContamination | NoFurtherActionLetterURL | MilitaryDoDSite | ReleaseComment

## Substance
ReleaseID | SubstanceReleased | QuantityReleased | Unit | SubstanceComment

## Source
ReleaseID | SourceOfRelease | SourceComment

## Cause
ReleaseID | CauseOfRelease | CauseComment

## Corrective Action Strategy
ReleaseID | CorrectiveActionStrategy | CorrectiveActionStrategyStartDate | CorrectiveActionStrategyComment