## Overview
View Name | Number of Rows
v_ust_facility | 6235
v_ust_tank | 101232
v_ust_tank_substance | 101232
v_ust_compartment | 101232
v_ust_compartment_substance | 101232
v_ust_piping | 101232
v_ust_facility_dispenser | 27931
QA Check | Number of Rows
Number of null rows for required column ust_facility.facility_id | 0
Number of null rows for required column ust_facility.facility_state | 0
nonunique rows in il_ust.v_ust_facility | 0
failed check constraint il_ust.facility_epa_region_chk | 0
failed check constraint il_ust.facility_financial_responsibility_bond_rating_test_chk | 0
failed check constraint il_ust.facility_financial_responsibility_commercial_insurance_chk | 0
failed check constraint il_ust.facility_financial_responsibility_guarantee_chk | 0
failed check constraint il_ust.facility_financial_responsibility_letter_of_credit_chk | 0
failed check constraint il_ust.facility_financial_responsibility_local_government_financial_te | 0
failed check constraint il_ust.facility_financial_responsibility_risk_retention_group_chk | 0
failed check constraint il_ust.facility_financial_responsibility_self_insurance_financial_test | 0
failed check constraint il_ust.facility_financial_responsibility_trust_fund_chk | 0
failed check constraint il_ust.facility_fr_obtained_chk | 0
failed check constraint il_ust.facility_ust_reported_release_chk | 0
Number of null rows for required column ust_tank.tank_id | 0
Number of null rows for required column ust_tank.tank_status_id | 0
nonunique rows in il_ust.v_ust_tank | 0
failed check constraint il_ust.tank_airport_hydrant_system_chk | 0
failed check constraint il_ust.tank_emergency_generator_chk | 0
failed check constraint il_ust.tank_federally_regulated_chk | 0
failed check constraint il_ust.tank_field_constructed_chk | 0
failed check constraint il_ust.tank_multiple_tanks_chk | 0
failed check constraint il_ust.tank_tank_corrosion_protection_cathodic_not_required_chk | 0
failed check constraint il_ust.tank_tank_corrosion_protection_impressed_current_chk | 0
failed check constraint il_ust.tank_tank_corrosion_protection_interior_lining_chk | 0
failed check constraint il_ust.tank_tank_corrosion_protection_sacrificial_anode_chk | 0
Number of null rows for required column ust_tank_substance.substance_id | 0
nonunique rows in il_ust.v_ust_tank_substance | 0
Number of null rows for required column ust_compartment.compartment_id | 0
Number of null rows for required column ust_compartment.compartment_status_id | 0
nonunique rows in il_ust.v_ust_compartment | 0
failed check constraint il_ust.compartment_automatic_tank_gauging_continuous_leak_detection_ch | 0
failed check constraint il_ust.compartment_overfill_prevention_ball_float_valve_chk | 0
failed check constraint il_ust.compartment_overfill_prevention_flow_shutoff_device_chk | 0
failed check constraint il_ust.compartment_overfill_prevention_high_level_alarm_chk | 0
failed check constraint il_ust.compartment_overfill_prevention_not_required_chk | 0
failed check constraint il_ust.compartment_overfill_prevention_other_chk | 0
failed check constraint il_ust.compartment_overfill_prevention_unknown_chk | 0
failed check constraint il_ust.compartment_spill_bucket_installed_chk | 0
failed check constraint il_ust.compartment_spill_prevention_not_required_chk | 0
failed check constraint il_ust.compartment_spill_prevention_other_chk | 0
failed check constraint il_ust.compartment_tank_automatic_tank_gauging_release_detection_chk | 0
failed check constraint il_ust.compartment_tank_groundwater_monitoring_chk | 0
failed check constraint il_ust.compartment_tank_inventory_control_chk | 0
failed check constraint il_ust.compartment_tank_manual_tank_gauging_chk | 0
failed check constraint il_ust.compartment_tank_other_release_detection_chk | 0
failed check constraint il_ust.compartment_tank_statistical_inventory_reconciliation_chk | 0
failed check constraint il_ust.compartment_tank_subpart_k_other_chk | 0
failed check constraint il_ust.compartment_tank_subpart_k_tightness_testing_chk | 0
failed check constraint il_ust.compartment_tank_tightness_testing_chk | 0
failed check constraint il_ust.compartment_tank_vapor_monitoring_chk | 0
nonunique rows in il_ust.v_ust_compartment_substance | 0
Number of null rows for required column ust_piping.piping_id | 0
nonunique rows in il_ust.v_ust_piping | 0
failed check constraint il_ust.piping_american_suction_chk | 0
failed check constraint il_ust.piping_high_pressure_or_bulk_piping_chk | 0
failed check constraint il_ust.piping_pipe_secondary_containment_other_chk | 0
failed check constraint il_ust.piping_pipe_tank_top_sump_chk | 0
failed check constraint il_ust.piping_piping_automated_intersticial_monitoring_chk | 0
failed check constraint il_ust.piping_piping_corrosion_protection_cathodic_not_required_chk | 0
failed check constraint il_ust.piping_piping_corrosion_protection_impressed_current_chk | 0
failed check constraint il_ust.piping_piping_corrosion_protection_other_chk | 0
failed check constraint il_ust.piping_piping_corrosion_protection_sacrificial_anode_chk | 0
failed check constraint il_ust.piping_piping_corrosion_protection_unknown_chk | 0
failed check constraint il_ust.piping_piping_flex_connector_chk | 0
failed check constraint il_ust.piping_piping_groundwater_monitoring_chk | 0
failed check constraint il_ust.piping_piping_interstitial_monitoring_chk | 0
failed check constraint il_ust.piping_piping_line_leak_detector_chk | 0
failed check constraint il_ust.piping_piping_line_test3yr_chk | 0
failed check constraint il_ust.piping_piping_line_test_annual_chk | 0
failed check constraint il_ust.piping_piping_material_copper_chk | 0
failed check constraint il_ust.piping_piping_material_flex_chk | 0
failed check constraint il_ust.piping_piping_material_frp_chk | 0
failed check constraint il_ust.piping_piping_material_gal_steel_chk | 0
failed check constraint il_ust.piping_piping_material_no_piping_chk | 0
failed check constraint il_ust.piping_piping_material_stainless_steel_chk | 0
failed check constraint il_ust.piping_piping_material_steel_chk | 0
failed check constraint il_ust.piping_piping_subpart_k_line_test_chk | 0
failed check constraint il_ust.piping_piping_subpart_k_other_chk | 0
failed check constraint il_ust.piping_piping_vapor_monitoring_chk | 0
failed check constraint il_ust.piping_safe_suction_chk | 0
Number of null rows for required column ust_facility_dispenser.dispenser_id | 0
nonunique rows in il_ust.v_ust_facility_dispenser | 0
Bad or Missing Data | Details
No bad or missing data

## Element Mapping
EPA Table Name | EPA Column Name | Organization Table Name | Organization Column Name | Element Mapping ID | Programmer Comments | Query Logic | EPA Comments | Organization Comments
ust_facility | facility_id | facility | FacilityID | 1956
ust_facility | facility_name | facility | FacilityName | 1957
ust_facility | owner_type_id | facility | OwnerType | 1958
ust_facility | facility_type1 | facility | FacilityType1 | 1959
ust_facility | facility_type2 | facility | FacilityType2 | 1960
ust_facility | facility_address1 | facility | FacilityAddress1 | 1961
ust_facility | facility_address2 | facility | FacilityAddress2 | 1962
ust_facility | facility_city | facility | FacilityCity | 1963
ust_facility | facility_county | facility | FacilityCounty | 1964
ust_facility | facility_zip_code | facility | FacilityZipCode | 1965
ust_facility | facility_state | facility | FacilityState | 1966
ust_facility | facility_epa_region | facility | FacilityEPARegion | 1967
ust_facility | facility_latitude | facility | FacilityLatitude | 1968
ust_facility | facility_longitude | facility | FacilityLongitude | 1969
ust_facility | coordinate_source_id | facility | FacilityCoordinateSource | 1970
ust_facility | facility_owner_company_name | facility | FacilityOwnerCompanyName | 1971
ust_facility | financial_responsibility_obtained | facility | FinancialResponsibilityObtained | 1972
ust_facility | financial_responsibility_bond_rating_test | facility | FinancialResponsibilityBondRatingTest | 1973
ust_facility | financial_responsibility_commercial_insurance | facility | FinancialResponsibilityCommercialInsurance | 1974
ust_facility | financial_responsibility_guarantee | facility | FinancialResponsibilityGuarantee | 1975
ust_facility | financial_responsibility_letter_of_credit | facility | FinancialResponsibilityLetterOfCredit | 1976
ust_facility | financial_responsibility_local_government_financial_test | facility | FinancialResponsibilityLocalGovernmentFinancialTest | 1977
ust_facility | financial_responsibility_risk_retention_group | facility | FinancialResponsibilityRiskRetentionGroup | 1978
ust_facility | financial_responsibility_self_insurance_financial_test | facility | FinancialResponsibilitySelfInsuranceFinancialTest | 1979
ust_facility | financial_responsibility_state_fund | facility | FinancialResponsibilityStateFund | 1980
ust_facility | financial_responsibility_surety_bond | facility | FinancialResponsibilitySuretyBond | 1981
ust_facility | financial_responsibility_trust_fund | facility | FinancialResponsibilityTrustFund | 1982
ust_facility | financial_responsibility_other_method | facility | FinancialResponsibilityOtherMethod | 1983
ust_facility | ust_reported_release | facility | USTReportedRelease | 1984
ust_facility | associated_ust_release_id | facility | AssociatedLUSTID | 1985
ust_tank | facility_id | tank | FacilityID | 1986
ust_tank | tank_id | tank | TankID | 1987
ust_tank | tank_name | tank | TankName | 1988
ust_tank | tank_location_id | tank | TankLocation | 1989
ust_tank | tank_status_id | tank | TankStatus | 1990
ust_tank | federally_regulated | tank | FederallyRegulated | 1991
ust_tank | field_constructed | tank | FieldConstructed | 1992
ust_tank | emergency_generator | tank | EmergencyGenerator | 1993
ust_tank | airport_hydrant_system | tank | AirportHydrantSystem | 1994
ust_tank | multiple_tanks | tank | MultipleTanks | 1995
ust_tank | tank_closure_date | tank | TankClosureDate | 1996
ust_tank | tank_installation_date | tank | TankInstallationDate | 1997
ust_tank | tank_material_description_id | tank | TankMaterialDescription | 2042
ust_tank | tank_corrosion_protection_sacrificial_anode | tank | TankCorrosionProtectionSacrificailAnode | 2043
ust_tank | tank_corrosion_protection_impressed_current | tank | TankCorrosionProtectionImpressedCurrent | 2044
ust_tank | tank_corrosion_protection_cathodic_not_required | tank | TankCorrosionProtectionNotRequired | 2045
ust_tank | tank_corrosion_protection_interior_lining | tank | TankCorrosionProtectionInteriorLining | 2046
ust_tank | tank_secondary_containment_id | tank | TankSecondaryContainment | 2049
ust_tank | cert_of_installation | tank | CertOfInstallation | 2050
ust_tank | null | tank | CompartmentalizedUST | 2041 | All values were unknown. Assumed state did not record data
ust_tank | null | tank | TankCorrosionProtectionUnknown | 2048 | All values were unknown. Assumed state did not record data
ust_tank | null | tank | TankcorrosionProtectionOther | 2047 | All values were unknown. Assumed state did not record data
ust_tank_substance | facility_id | compartment | FacilityID | 2051
ust_tank_substance | tank_id | compartment | TankID | 2052
ust_tank_substance | tank_name | compartment | TankName | 2053
ust_tank_substance | substance_id | compartment | CompartmentSubstanceStored | 2054
ust_tank_substance | substance_casno | compartment | CompartmentSubstanceCASNO | 2055
ust_compartment | facility_id | compartment | FacilityID | 2056
ust_compartment | tank_id | compartment | TankID | 2057
ust_compartment | tank_name | compartment | TankName | 2058
ust_compartment | compartment_id | compartment | CompartmentID | 2059
ust_compartment | compartment_status_id | compartment | CompartmentStatus | 2060
ust_compartment | compartment_capacity_gallons | compartment | CompartmentCapacityGallons | 2061
ust_compartment | overfill_prevention_ball_float_valve | compartment | OverfillPreventionBallFloatValve | 2062
ust_compartment | overfill_prevention_flow_shutoff_device | compartment | OverfillPreventionFlowShutoffDevice | 2063
ust_compartment | overfill_prevention_high_level_alarm | compartment | OverfillPreventionHighLevelAlarm | 2064
ust_compartment | overfill_prevention_other | compartment | OverfillPreventionOther | 2065
ust_compartment | overfill_prevention_unknown | compartment | OverfillPreventionUnknown | 2066
ust_compartment | overfill_prevention_not_required | compartment | OverfillPreventionNotRequired | 2067
ust_compartment | spill_bucket_installed | compartment | SpillBucketInstalled | 2068
ust_compartment | spill_prevention_other | compartment | SpillPreventionOther | 2069
ust_compartment | spill_prevention_not_required | compartment | SpillPreventionNotRequired | 2070
ust_compartment | spill_bucket_wall_type_id | compartment | SpillBucketWallType | 2071
ust_compartment | tank_interstitial_monitoring | compartment | TankInterstitialMonitoring | 2072
ust_compartment | tank_automatic_tank_gauging_release_detection | compartment | TankAutomaticTankGaugingReleaseDetection | 2073
ust_compartment | automatic_tank_gauging_continuous_leak_detection | compartment | AutomaticTankGaugingContinuousLeakDetection | 2074
ust_compartment | tank_manual_tank_gauging | compartment | TankManualTankGauging | 2075
ust_compartment | tank_statistical_inventory_reconciliation | compartment | TankStatisticalInventoryReconciliation | 2076
ust_compartment | tank_tightness_testing | compartment | TankTightnessTesting | 2077
ust_compartment | tank_inventory_control | compartment | TankInventoryControl | 2078
ust_compartment | tank_groundwater_monitoring | compartment | TankGroundwaterMonitoring | 2079
ust_compartment | tank_vapor_monitoring | compartment | TankVaporMonitoring | 2080
ust_compartment | tank_subpart_k_tightness_testing | compartment | TankSubpartKTightnessTesting | 2081
ust_compartment | tank_subpart_k_other | compartment | TankSubpartKOther | 2082
ust_compartment | tank_other_release_detection | compartment | TankOtherReleaseDetection | 2083
ust_compartment_substance | facility_id | compartment | FacilityID | 2084
ust_compartment_substance | tank_id | compartment | TankID | 2085
ust_compartment_substance | compartment_id | compartment | CompartmentID | 2086
ust_piping | facility_id | piping | FacilityID | 2087
ust_piping | tank_id | piping | TankID | 2088
ust_piping | tank_name | piping | TankName | 2089
ust_piping | piping_id | piping | PipingID | 2090
ust_piping | piping_style_id | piping | PipingStyle | 2091
ust_piping | safe_suction | piping | SafeSuction | 2092 |  | When SafeSuction = Yes then Yes, when SafeSuction = No then No, else Unknown
ust_piping | american_suction | piping | AmericanSuction | 2093 |  | When AmericanSuction = Yes then Yes, when AmericanSuction = No then No, else Unknown
ust_piping | high_pressure_or_bulk_piping | piping | HighPressureOrBulkPiping | 2094
ust_piping | piping_material_frp | piping | PipingMaterialFRP | 2095
ust_piping | piping_material_gal_steel | piping | PipingMaterialGalSteel | 2096
ust_piping | piping_material_stainless_steel | piping | PipingMaterialStainlessSteel | 2097
ust_piping | piping_material_steel | piping | PipingMaterialSteel | 2098
ust_piping | piping_material_copper | piping | PipingMaterialCopper | 2099
ust_piping | piping_material_flex | piping | PipingMaterialFlex | 2100
ust_piping | piping_material_no_piping | piping | PipingMaterialNoPiping | 2101
ust_piping | piping_flex_connector | piping | PipingFlexConnector | 2102
ust_piping | piping_corrosion_protection_sacrificial_anode | piping | PipingCorrosionProtectionSacrificialAnode | 2103
ust_piping | piping_corrosion_protection_impressed_current | piping | PipingCorrosionProtectionImpressedCurrent | 2104
ust_piping | piping_corrosion_protection_cathodic_not_required | piping | PipingCorrosionProtectionCathodicNotRequired | 2105
ust_piping | piping_corrosion_protection_other | piping | PipingCorrosionProtectionOther | 2106
ust_piping | piping_corrosion_protection_unknown | piping | PipingCorrosionProtectionUnknown | 2107
ust_piping | piping_line_leak_detector | piping | PipingLineLeakDetector | 2108
ust_piping | piping_automated_intersticial_monitoring | piping | PipingAutomatedIntersticialMonitoring | 2109
ust_piping | piping_line_test_annual | piping | PipingLineTestAnnual | 2110
ust_piping | piping_line_test3yr | piping | PipingLineTest3yr | 2111
ust_piping | piping_groundwater_monitoring | piping | PipingGroundwaterMonitoring | 2112
ust_piping | piping_vapor_monitoring | piping | PipingVaporMonitoring | 2113
ust_piping | piping_interstitial_monitoring | piping | PipingInterstitialMonitoring | 2114 | State data includes an identical column, ignored.
ust_piping | piping_subpart_k_line_test | piping | PipingSubpartKLineTest | 2117
ust_piping | piping_subpart_k_other | piping | PipingSubpartKOther | 2118
ust_piping | pipe_tank_top_sump | piping | PipeTankTopSump | 2119
ust_piping | pipe_tank_top_sump_wall_type_id | piping | PipeTankTopSumpWallType | 2120
ust_piping | piping_wall_type_id | piping | PipingWallType | 2121
ust_piping | pipe_secondary_containment_other | piping | PipeSecondaryContainmentOther | 2123
ust_piping | null | piping | PipeSecondaryContainmentUnknown | 2124 | All values were unknown. Assumed state did not record data
ust_piping | null | piping | PipeTrenchLiner | 2122 | All values were unknown. Assumed state did not record data
ust_piping | null | piping | PipingReleaseDetectionOther | 2116 | All values were unknown. Assumed state did not record data
ust_piping | null | piping | PipingStatisticalInventoryReconciliation | 2115 | All values were unknown. Assumed state did not record data; State data includes an identical column, ignored.
ust_facility_dispenser | facility_id | facility_dispenser | FacilityID | 2125
ust_facility_dispenser | dispenser_id | facility_dispenser | DispenserID | 2126
ust_facility_dispenser | dispenser_udc | facility_dispenser | DispenserUDC | 2127
ust_facility_dispenser | dispenser_udc_wall_type | facility_dispenser | DispenserUDCWallType | 2128