## Reference
Element Name | Element Description | Element Type | Size | Required | Allowed Values | Business Rule | NOTES
FacilityID | Facility ID | string | 30
TankIDAssociatedwithRelease | Tank ID associated with release | string | 50
LUSTID | LUST/release ID | string | 50 | Y
FederallyReportableRelease | Is this a federally reportable UST system release? | string | 7 |  | Y | Yes No Unknown
SiteName | LUST site name | string | 200
SiteAddress | Site address | string | 100
SiteAddress2 | Site address 2 | string | 100
SiteCity | Site city | string | 100
Zipcode | Zip code | string | 10
County | County | string | 100
State | State | string | 2 |  | Y | [See States tab]
EPARegion | EPA region | integer | 2 |  | Y | 1 2 3 4 5 6 7 8 9 10
FacilityType | Facility type | string | 50 |  | Y | [See Facility Type Tab]
TribalSite | Is this release on federally recognized tribal land? | string | 7 |  | Y | Yes No Unknown
Tribe | Tribe name | string | 50 |  |  |  | Conditionally required if "Is this release on federally recognized tribal land" is "Yes".
Latitude | Latitude | decimal | 9
Longitude | Longitude | decimal | 9
CoordinateSource | Coordinate source | string | 17 |  | Y | Map Interpolation GPS PLSS Geocode Other Unknown
LUSTStatus | LUST status | string | 35 | Y | Y | Active: general Active: post CorrectiveAction monitoring Active: CorrectiveAction Active: site investigation Active: stalled No further action Unknown Other
ReportedDate | Reported date (if no reported date then discovered date) | date
NFADate | No further action/site closure date | date
MediaImpactedSoil | Media impacted: soil | string | 3 |  | Y | Yes No
MediaImpactedGroundwater | Media impacted: groundwater | string | 3 |  | Y | Yes No
MediaImpactedSurfaceWater | Media impacted: surface water | string | 3 |  | Y | Yes No
SubstanceReleased1 | Substance released | string | 105 |  | Y | [See Substances tab]
QuantityReleased1 | Quantity released 1 | decimal | 9
Unit1 | Quantity released unit (e.g. gallons) 1 | string | 20
SubstanceReleased2 | Substance released 2 | string | 105 |  | Y | [See Substances tab]
QuantityReleased2 | Quantity released 2 | decimal | 9
Unit2 | Quantity released unit (e.g. gallons) 2 | string | 20
SubstanceReleased3 | Substance released 3 | string | 105 |  | Y | [See Substances tab]
QuantityReleased3 | Quantity released 3 | decimal | 9
Unit3 | Quantity released unit (e.g. gallons) 3 | string | 20
SubstanceReleased4 | Substance released 4 | string | 105 |  | Y | [See Substances tab]
QuantityReleased4 | Quantity released 4 | decimal | 9
Unit4 | Quantity released unit (e.g. gallons) 4 | string | 20
SubstanceReleased5 | Substance released 5 | string | 105 |  | Y | [See Substances tab]
QuantityReleased5 | Quantity released 5 | decimal | 9
Unit5 | Quantity released unit (e.g. gallons) 5 | string | 20
SourceOfRelease1 | Source of release 1 | string | 15 |  | Y | [See Sources tab]
CauseOfRelease1 | Cause of release 1 | string | 70 |  | Y | [See Causes tab]
SourceOfRelease2 | Source of release 2 | string | 15 |  | Y | [See Sources tab]
CauseOfRelease2 | Cause of release 2 | string | 70 |  | Y | [See Causes tab]
SourceOfRelease3 | Source of release 3 | string | 15 |  | Y | [See Sources tab]
CauseOfRelease3 | Cause of release 3 | string | 70 |  | Y | [See Causes tab]
HowReleaseDetected | How was the release detected? | string | 47 |  | Y | At tank removal GW monitoring well Inspection Interstial monitor Overfill alarm Statistical Inventory Reconciliation (SIR) Tank tightness testing Third party (well water, vapor intrusion, etc.) Vapor monitoring Visual (overfill) Other Unknown
CorrectiveActionStrategy1 | Corrective action strategy 1 | string | 43 |  | Y | [See Corrective Action Strategies tab]
CorrectiveActionStrategy1StartDate | Corrective action strategy 1 start date | date
CorrectiveActionStrategy2 | Corrective action strategy 2 | string | 43 |  | Y | [See Corrective Action Strategies tab]
CorrectiveActionStrategy2StartDate | Corrective action strategy start date 2 | date
CorrectiveActionStrategy3 | Corrective action strategy 3 | string | 43 |  | Y | [See Corrective Action Strategies tab]
CorrectiveActionStrategy3StartDate | Corrective action strategy 3 start date | date
ClosedWithContamination | Was the site closed/NFA with contamination in place? | string | 7 |  | Y | Yes No Unknown
NoFurtherActionLetterURL | No further action letter (tribal only) | string | 2000 |  |  |  | Only applicable if TribalSite = 'Yes'
MilitaryDoDSite | Is this release or associated facility at a DoD/military site? | string | 7 |  | Y | Yes No Unknown

## Facility Type
Facility Type
Agricultural/farm
Auto dealership/auto maintenance & repair
Aviation/airport (non-rental car)
Bulk plant storage/petroleum distributor
Commercial
Contractor
Federally owned
Hospital (or other medical)
Industrial
Marina
Railroad
Rental car
Residential
Retail fuel sales (non-marina)
School
Telecommunication facility
Trucking/transport/fleet operation
Utility
Wholesale
Other
Unknown

## States
State
AK
AL
AR
AS
AT
AZ
CA
CO
CT
DC
DE
FL
FM
GA
GB
GE
GM
GU
HI
IA
ID
IL
IN
JA
KS
KY
LA
MA
MD
ME
MH
MI
MN
MO
MP
MS
MT
MW
NC
ND
NE
NH
NI
NJ
NM
NN
NV
NY
OH
OK
OR
PA
PR
PW
RI
SC
SD
TN
TT
TX
UM
UT
VA
VI
VT
WA
WI
WV
WY

## Substances
Substance Group | Substance | Federally Regulated
Aviation | Aviation biofuel | Y
Aviation | Aviation gasoline | Y
Aviation | Biojet (diesel) | Y
Aviation | Jet fuel A | Y
Aviation | Jet fuel B | Y
Aviation | Sustainable aviation fuel/aviation fuel blend | Y
Aviation | Unknown aviation gas or jet fuel | Y
Diesel | 100% biodiesel (not federally regulated) | N
Diesel | 80% renewable diesel, 20% biodiesel | Y
Diesel | 95% renewable diesel, 5% biodiesel | Y
Diesel | 99.9 percent renewable diesel, 0.01% biodiesel | Y
Diesel | ASTM D975 diesel (known 100% renewable diesel) | Y
Diesel | Diesel blend containing 99% to less than 100% biodiesel | Y
Diesel | Diesel blend containing greater than 20% and less than 99% biodiesel | Y
Diesel | Diesel blends containing greater than 5% and up to 20% or less biodiesel | Y
Diesel | Diesel fuel (ASTM D975), can contain 0-5% biodiesel | Y
Diesel | Diesel fuel (b-unknown) | Y
Diesel | Diesel fuel (known to contain 0% biodiesel) | Y
Diesel | Off-road diesel/dyed diesel | Y
Diesel | Other unlisted blend containing any other mixture of diesel, renewable diesel, or 20% biodiesel or less | Y
Diesel | Other unlisted blend containing any other mixture of diesel, renewable diesel, or more than 20% biodiesel | Y
Gasoline | E-85/Flex Fuel (E51-E83) | Y
Gasoline | Ethanol blend gasoline (e-unknown) | Y
Gasoline | Gasoline (non-ethanol) | Y
Gasoline | Gasoline (unknown type) | Y
Gasoline | Gasoline E-10 (E1-E10) | Y
Gasoline | Gasoline E-15 (E-11-E15) | Y
Gasoline | Gasoline/ethanol blends E16-E50 | Y
Gasoline | Gasoline/ethanol blend containing more than 83% and less than 98% ethanol | Y
Gasoline | Racing fuel | Y
Heating | Biofuel/bioheat | Y
Heating | Heating oil/fuel oil 1 | Y
Heating | Heating oil/fuel oil 2 | Y
Heating | Heating oil/fuel oil 3 | Y
Heating | Heating oil/fuel oil 4 | Y
Heating | Heating oil/fuel oil 5 | Y
Heating | Heating/fuel oil # unknown | Y
Oil | Lube/motor oil (new) | Y
Oil | Used oil/waste oil | Y
Other | Antifreeze | Y
Other | Denatured ethanol (98%) | Y
Other | Diesel exhaust fluid (DEF, not federally regulated) | N
Other | Hazardous substance | Y
Other | Kerosene | Y
Other | Marine fuel | Y
Other | Non-federally regulated substance (general) | N
Other | Petroleum product | Y
Other | Solvent | Y
Other | Other | Y
Other | Unknown | Y

## Sources
Source
Dispenser
Piping
Submersible turbine pump
Tank
Other
Unknown

## Causes
Cause
Corrosion
Damage to dispenser
Damage to dispenser hose
Delivery overfill
Delivery problem
Dispenser spill
Dope/sealant
Flex connector failure
Human error
Motor vehicle accident
Overfill (general)
Piping failure
Shear valve failure
Spill bucket failure
Tank corrosion
Tank damage
Tank removal
Weather/natural disaster (i.e., hurricane, flooding, fire, earthquake)
Other
Unknown

## Corrective Action Strategies
Corrective Action Strategy
Air sparging/bio sparging
Air stripping
Alternative drinking water
Barrier wall - slurry wall, solid, or oleophobic
Bioventing
Capping
Carbon injection or placement in excavation
Chemical oxidation
Enclosed space pressurization
Enhanced anaerobic oxidative bioremediation
Excavation and hauling or treatment
In-situ groundwater remediation
LNAPL skimming
Monitored natural attenuation
Multi/dual-phase extraction (MPE)
Natural source zone depletion
Nutrient injection or placement in excavation
Oxidizer moitoring well socks
Oxygen or oxydizer injection or placement in excavation
Passive or bail product recovery
Point of use water treatment
Pump and treat
Soil vapor extraction (SVE)
Sub sealing/sub slab barrier
Subslab venting
Sulfate injection or surface placement
Surfactant injection
Treatment wall
Vacuum vaporizing well (UVB, ART)
Other
Unknown

## Template
FacilityID | TankIDAssociatedwithRelease | LUSTID | FederallyReportableRelease | SiteName | SiteAddress | SiteAddress2 | SiteCity | Zipcode | County | State | EPARegion | FacilityType | TribalSite | Tribe | Latitude | Longitude | CoordinateSource | LUSTStatus | ReportedDate | NFADate | MediaImpactedSoil | MediaImpactedGroundwater | MediaImpactedSurfaceWater | SubstanceReleased1 | QuantityReleased1 | Unit1 | SubstanceReleased2 | QuantityReleased2 | Unit2 | SubstanceReleased3 | AmountReleased3 | Unit3 | SubstanceReleased4 | AmountReleased4 | Unit4 | SubstanceReleased5 | AmountReleased5 | Unit5 | SourceOfRelease1 | CauseOfRelease1 | SourceOfRelease2 | CauseOfRelease2 | SourceOfRelease3 | CauseOfRelease3 | HowReleaseDetected | CorrectiveActionStrategy1 | CorrectiveActionStrategy1StartDate | CorrectiveActionStrategy2 | CorrectiveActionStrategy2StartDate | CorrectiveActionStrategy3 | CorrectiveActionStrategy3StartDate | ClosedWithContamination | NoFurtherActionLetterURL | MilitaryDoDSite