## Overview
CERS UST Facility/Tank Data Download
This spreadsheet contains UST Facility, Tank, Monitoring Plan, and Certification of Installation/Modification data exported from the California Environmental Reporting System (CERS). Use Excel's worksheet tabs or the hyperlinks below to access the export data. Please note, this exported data only includes data that has been "Accepted" by Regulators. Any UST Facility data that has been "Submitted" but has never been "Accepted" by a Regulator is not shown.
Tank counts:
• | The ‘UST Facility Info’ table (the first generated worksheet) Field 404, ‘Total Number of USTs’, provides a count of all active tanks listed in the last accepted submittal shown on that table. It may not be equal to the next worksheet ‘UST Tank and Monitoring Plan Info Count of Exported Records’ shown on this page. The UST Tank and Monitoring Plan Info is a count of all tanks reported on all accepted submittals. In some cases, such as if a tank ID is altered or a business user reports additional tanks on a submittal, there will be tanks reported on one submittal and not on another. The ‘UST Tank and Monitoring Plan Info Count of Exported Records’ includes all such tanks.
• | Date Range vs No Date Range:
| o | Tanks reported in CERS that do not have a tank install date will be reported if no date range is selected. They will not be reported if a date range is selected.
| o | UPA staff are encouraged to ensure that all active tanks have a tank installation date and that all permanently closed or removed tanks have a tank closure date.
• | Report 6: This report will report all tanks and therefore should be consistent with ‘UST Tank and Monitoring Plan Info Count of Exported Records’. The date range limitations are also the same, tank records with no date installed or closed will not be counted if the report is run with a date range.
Data Export Date/Time: |  |  | 8/14/2024 3:46:39 PM
Record Filtering Criteria (if any): |  |  | Facility regulated by "Riverside City Fire Department".
Generated Worksheets |  |  | Count of Exported Records
UST Facility Info |  |  | 0
UST Tank & Monitoring Plan Info |  |  | 0
UST Cert of Installation & Mod |  |  | 0
For more information about the meaning of the Unified Program Data Dictionary (UPDD) codes, visit the CUPA Data Registry at the following URL:
https://cersapps.calepa.ca.gov/DataRegistry

## UST Facility Info
Facility Identification and Location | [9 empty] | General UST Facility Permit Info | [6 empty] | Property Owner | [6 empty] | Tank Owner | [7 empty] | Tank Operator | [6 empty] | Petroleum UST Financial Responsibility Mechanism(s) | [10 empty] | Certification / Applicant Information |  |  |  | Submittal / Acceptance Information |  |  |  | Regulator Information
1a | 1 |  |  | 3 | 103 | 104 |  |  |  | 400 | 403 | 421 | 423 | 404 | 405 | 406 | 407 | 408 | 409 | 410 | 411 | 412 | 412a | 414 | 415 | 416 | 417 | 418 | 419 | 419a | 420 | 428-1 | 428-2 | 428-3 | 428-4 | 428-5 | 428-6 | 428-7 | 422-1 | 422-2 | 422-3 | 422-4 | 422-5 | 422-6 | 422-8 | 422-9 | 422-10 | 422-99 | 422-99a | 424 | 426 | 427 | 425
CERS ID | Facility ID | Organization Name | Organization Code | Facility Name | Facility Street Address | Facility City | Facility ZIP Code | Latitude Measure | Longitude Measure | Type of Action | UST Facility Type | BOE Number | Permit Holder Notification Information | Total Number of USTs | Indian or Trust Land | Supervisor of Division, Section, or Office | Name | Phone | Mailing Address | City | State | ZIP Code | Country | Name | Phone | Mailing Address | City | State | ZIP Code | Country | Type | Name | Phone | Mailing Address | City | State | ZIP Code | Country | Self- Insured | Guarantee | Insurance | Surety Bond | Letter of Credit | Exemption | State Fund and CFO letter | State Fund and CD | Local Government Mechanism | Other | Other Description | Date Certified | Applicant Name | Applicant Title | Applicant Phone | Date Submitted to CERS | Date Accepted by Regulator | Regulator Comment | Regulator Agent Name | Regulator Name | Regulator Type

## UST Tank & Monitoring Plan Info
Facility Identification and Location | [7 empty] | General UST Tank Permit Info | [10 empty] | Tank Use and Contents |  |  |  |  | Tank Construction |  |  |  |  | Tank Overfill Prevention |  |  |  | Product / Waste Piping Construction | [6 empty] | Vent Piping Construction |  |  |  | Vent Piping Transition Sumps | Vapor Recovery (VR) Piping Construction |  |  |  | Riser / Fill Pipe Piping Construction |  |  |  | Fill Components Installed |  |  | Under Dispenser Containment (UDC) |  |  | Corrosion Prevention |  |  | UST Tank Certification / Applicant Information |  |  | Equipment Testing and Preventive Maintenance |  | Site Plot Plan Submitted | Continuous Electronic Tank Monitoring | [5 empty] | Automatic Tank Gauging | [8 empty] | Monthly Statistical Inventory Reconciliation | Weekly Manual Tank Gauge |  | Tank Integrity Testing |  |  | Other Tank Monitoring |  | Continuous Monitoring of Piping Secondary Containment | [7 empty] | Mechanical Line Leak Detector Performs 3 GPH Leak Test |  |  | Electronic Line Leak Detector Performs 3 GPH Leak Test | [5 empty] | Pipeline Integrity Testing |  |  | Visual Pipeline Monitoring |  | Suction Piping Meets Exemption Criteria | No Regulated Piping Per Health and Safety Code, Division 20, Chapter 6.7 Is Connected To The Tank System | Other Pipeline Monitoring |  | Under Dispenser Containment (UDC) Monitoring | [12 empty] | Periodic System Testing |  |  | Recordkeeping | [7 empty] | Training | [9 empty] | Comments and Additional Information | Personnel Responsibilities |  |  |  | UST Monitoring Plan Certification / Applicant Information |  |  |  | Submittal / Acceptance Information |  |  | Regulator Information
1a | 1 |  |  | 3 | 103 | 104 |  | 430 | 432 | 432-a | 433 | 434 | 436 | 435 | 430-a | 430-b | 437 | 438 | 439 | 439a | 440 | 440a | 440b | 443 | 444 | 444a | 445 | 445a | 452a | 452b | 452c | 452d | 460 | 458 | 464 | 464a | 464b | 464c | 464d | 464e | 464e1 | 464f | 464f1 | 464i | 464g | 464g1 | 464h | 464h1 | 464j | 464j1 | 464k | 464k1 | 451-a | 451-b | 451-c | 469a | 469b | 469c | 448a | 448b | 448c | 470 | 471 | 472 | 490-3a | 490-3b | 490-4 | 490-5 | 490-6 | 490-7 | 490-8 | 490-9 | 490-10 | 490-11 | 490-12 | 490-13 | 490-14 | 490-15 | 490-16 | 490-17 | 490-18 | 490-19 | 490-20 | 490-21 | 490-22 | 490-23 | 490-24 | 490-25 | 490-26 | 490-27 | 490-28 | 490-29 | 490-30 | 490-31 | 490-32 | 490-33 | 490-34 | 490-35 | 490-36 | 490-37 | 490-38 | 490-39 | 490-40 | 490-41 | 490-42 | 490-43 | 490-44 | 490-45 | 490-46 | 490-47 | 490-48 | 490-49 | 490-50 | 490-51 | 490-52 | 490-53 | 490-54a | 490-54b | 490-55 | 490-56 | 490-57 | 490-58 | 490-59 | 490-60 | 490-61 | 490-62 | 490-63 | 490-64a | 490-64b | 490-65 | 490-66 | 490-67 | 490-68a | 490-68b | 490-68c | 490-68d | 490-68e | 490-68f | 490-68g | 490-68h | 490-69a | 490-69b | 490-69c | 490-69d | 490-69e | 490-69f | 490-69g | 490-69h | 490-69i | 490-70 | 490-71 | 490-72 | 490-73 | 490-74 | 490-75 | 490-76 | 490-77 | 490-78 | 490-79
CERS ID | Facility ID | Organization Name | Organization Code | Facility Name | Facility Street Address | Facility City | Facility ZIP Code | Type of Action | Tank ID # | CERS TankID | Tank Manufacturer | Tank Configuration | Tank Capacity In Gallons | Date UST System Installed | Date UST Permanently Closed | Date Existing UST Discovered | Number of Compartments in the Unit | Additional Description | Tank Use | Specify Other Tank Use | Tank Contents | Specify Other Petroleum | Specify Other Non-Petroleum | Type of Tank | Tank Primary Containment Construction | Other Primary Containment Construction | Tank Secondary Containment Construction | Other Secondary Containment Construction | Audible/ Visual Alarms | Ball Float | Fill Tube Shut-Off Valve | Exempt | Piping Construction | Piping System Type | Primary Containment Construction | Other Primary Containment Construction | Secondary Containment Construction | Other Secondary Containment Construction | Piping/Turbine Containment Sump | Primary Containment Construction | Other Primary Containment Construction | Secondary Containment Construction | Other Secondary Containment Construction | Vent Piping Transition Sumps | Primary Containment Construction | Other Primary Containment Construction | Secondary Containment Construction | Other Secondary Containment Construction | Primary Containment Construction | Other Primary Containment Construction | Secondary Containment Construction | Other Secondary Containment Construction | Spill Bucket Installed | Striker Plate / Bottom Protector Installed | Containment Sump | Construction Type | Construction Material | Other Construction Material | Sacrificial Anode | Impressed Current | Isolation | Date Certified | Applicant Name | Applicant Title | Monitoring Equipment Serviced | Other Frequency of Monitoring Equipment Service | Site Plot Plan Submitted | Continuous Electronic Tank Monitoring | Tank Secondary Containment System | Electronic Monitor Panel Manufacturer | Electronic Monitor Panel Model # | Leak Sensor Manufacturer | Leak Sensor Model # | Automatic Tank Gauging | ATG Panel Manufacturer | ATG Model # | In-Tank Probe Manufacturer | In-tank Probe Model # | Tank Leak Test Frequency | Other Leak Test Frequency | Programmed Tank Tests | Other Programmed Tests | Monthly Statistical Inventory Reconciliation | Weekly Manual Tank Gauge | Tank Gauging Test Period | Tank Integrity Testing | Tank Integrity Testing Frequency | Other Tank Integrity Testing Frequency | Other Monitoring | Specify Other Monitoring | Continuous Monitoring of Piping Secondary Containment | Piping Secondary Containment | Panel Manufacturer | Panel Model # | Leak Sensor Manufacturer | Leak Sensor Model # | Leak Alarm Triggers Automatic Pump Shutdown | Failure/Disconnect Triggers Pump Shutdown | Mechanical Line Leak Detector Performs 3 GPH Leak Test | MLLD Manufacturer | MLLD Model # | Electronic Line Leak Detector Performs 3 GPH Leak Test | ELLD Manufacturer | ELLD Model # | ELLD Programmed In-Line Testing | ELLD Triggers Automatic Pump Shutdown | ELLD Failure/Disconnect Triggers Automatic Shutdown | Pipeline Integrity Testing | Pipeline Integrity Testing Frequency | Other Pipeline Integrity Testing Frequency | Visual Pipeline Monitoring | Visual Pipeline Monitoring Frequency | Suction Piping Meets Exemption Criteria | No Regulated Piping Per Health and Safety Code, Division 20, Chapter 6.7 Is Connected To The Tank System | Other Pipeline Monitoring | Other Pipeline Monitoring Description | UDC Monitoring | Other UDC Monitoring | UDC Panel Manufacturer | UDC Panel Model # | UDC Leak Sensor Manufacturer | UDC Leak Sensor Model # | Detection of Leak into UDC Triggers Audible and Visual Alarms | UDC Leak Alarm Triggers Automatic Pump Shutdown | Failure/Disconnection of UDC Monitoring System Triggers Automatic Pump Shutdown | UDC Monitoring Stops Flow of Product at Dispenser | UDC Construction | UDC Secondary Containment Monitoring | Leak Within Secondary Containment of UDC Causes Audible and Visual Alarms | ELD Testing | Secondary Containment Testing | Spill Bucket Testing | Alarm Logs | Visual Inspection Records | Tank Integrity Testing Results | SIR Testing Results | Tank Gauging Results | ATG Testing Results | Corrosion Protection Logs | Equipment Maintenance and Calibration Records | Personnel with UST Monitoring Responsibilities are Familiar with Training Documents | UST Monitoring Plan | Operating Manuals | CA UST Regulations | CA UST Law | SWRCB Handbook for Tank Owners - Manual and SIR | SWRCB Publication: Understanding Automatic Tank Gauging Systems | Other Training Documents | Other Training Documents Description | Designated Operator Training | Comments and Additional Information | Name of First Person Having Responsibility | Title of First Person Having Responsibility | Name of Second Person Having Responsibility | Title of Second Person Having Responsibility | Signature Representation | Signature Date | Applicant Name | Applicant Title | Date Submitted to CERS | Date Accepted by Regulator | Regulator Agent Name | Regulator Name | Regulator Type

## UST Cert of Installation & Mod
Facility Identification and Location | [5 empty] | UST Certification Project Type |  |  |  |  | Work Authorized Under Permit |  | Contractor Information |  |  | Certification / Applicant Information | [5 empty] | Submittal / Acceptance Information |  |  | Regulator Information
1a | 1 | 3 | 103 | 104 |  | 483a-1 | 483a-2 | 483a-3 | 483a-4 | 483a-5 | 483b | 483c | 482a | 482b | 482c | 484 | 485 | 486 | 487 | 488 | 489
CERS ID | Facility ID | Facility Name | Facility Street Address | Facility City | Facility ZIP Code | Tank Installation / Replacement | Piping Installation / Replacement | Sump Installation / Replacement | Under Dispenser Containment Installation / Replacement | Other | Work Authorized Under Permit (Number or Date) | Description of Work Being Certified | Name of Contractor Who Performed Installation/ Modification | Contractor's License Number | Contractor's ICC Certification Number | Date Certified | Certifier’s Name | Certifier’s Title | Phone Number | Name of Certifier’s Employer | Certifier’s Relationship to Tank Owner | Date Submitted to CERS | Date Accepted by Regulator | Regulator Agent Name | Regulator Name | Regulator Type