## piping_id null
facility_id | tank_id | compartment_id | piping_id | piping_style_id | safe_suction | american_suction | high_pressure_or_bulk_piping | piping_material_frp | piping_material_gal_steel | piping_material_steel | piping_material_flex | piping_material_other | piping_material_unknown | piping_corrosion_protection_other | piping_corrosion_protection_unknown | piping_line_leak_detector | piping_line_test_annual | piping_line_test3yr | piping_interstitial_monitoring | piping_statistical_inventory_reconciliation | piping_subpart_k_other | pipe_secondary_containment_other | pipe_secondary_containment_unknown
GEPA-UST-038 |  |  |  | 2 |  |  | Yes | Yes | [5 empty] | Yes
GEPA-UST-050 | 4 |  |  | 6 | [8 empty] | Yes |  | Yes | [7 empty] | Yes
GEPA-UST-129 | 1 |  |  | 1 |  | Yes |  | Yes | [5 empty] | Yes | [7 empty] | Yes
GEPA043 |  |  |  | 1 | Yes |  |  | Yes
GEPA049 | 3 |  |  | 6 | [8 empty] | Yes |  | Yes | [7 empty] | Yes

## Overview
View Name | Number of Rows
v_ust_facility | 128
v_ust_tank | 295
v_ust_tank_substance | 295
v_ust_compartment | 295
v_ust_compartment_substance | 295
v_ust_piping | 295
QA Check | Number of Rows
Number of null rows for required column ust_facility.facility_id | 0
Number of null rows for required column ust_facility.facility_state | 0
Number of duplicated key columns in gu_ust.v_ust_facility (facility_id) | 0
nonunique rows in gu_ust.v_ust_facility | 0
failed check constraint gu_ust.facility_epa_region_chk | 0
Unmapped elements in gu_ust.v_ust_facility | 0
Wrong elements mapped in ust_element_mapping | 0
Number of null rows for required column ust_tank.tank_id | 0
Number of null rows for required column ust_tank.tank_status_id | 0
Number of duplicated key columns in gu_ust.v_ust_tank (facility_id, tank_id) | 0
nonunique rows in gu_ust.v_ust_tank | 0
failed check constraint gu_ust.tank_federally_regulated_chk | 0
failed check constraint gu_ust.tank_multiple_tanks_chk | 0
failed check constraint gu_ust.tank_tank_corrosion_protection_impressed_current_chk | 0
failed check constraint gu_ust.tank_tank_corrosion_protection_interior_lining_chk | 0
failed check constraint gu_ust.tank_tank_corrosion_protection_other_chk | 0
failed check constraint gu_ust.tank_tank_corrosion_protection_sacrificial_anode_chk | 0
failed check constraint gu_ust.tank_tank_corrosion_protection_unknown_chk | 0
Unmapped elements in gu_ust.v_ust_tank | 0
Number of null rows for required column ust_tank_substance.substance_id | 0
Number of duplicated key columns in gu_ust.v_ust_tank_substance (facility_id, tank_id, substance_id) | 0
nonunique rows in gu_ust.v_ust_tank_substance | 0
Unmapped elements in gu_ust.v_ust_tank_substance | 0
Number of null rows for required column ust_compartment.compartment_id | 0
Number of null rows for required column ust_compartment.compartment_status_id | 0
Number of duplicated key columns in gu_ust.v_ust_compartment (facility_id, tank_id, compartment_id) | 0
nonunique rows in gu_ust.v_ust_compartment | 0
failed check constraint gu_ust.compartment_automatic_tank_gauging_continuous_leak_detection_ch | 0
failed check constraint gu_ust.compartment_overfill_prevention_ball_float_valve_chk | 0
failed check constraint gu_ust.compartment_overfill_prevention_flow_shutoff_device_chk | 0
failed check constraint gu_ust.compartment_overfill_prevention_high_level_alarm_chk | 0
failed check constraint gu_ust.compartment_overfill_prevention_other_chk | 0
failed check constraint gu_ust.compartment_overfill_prevention_unknown_chk | 0
failed check constraint gu_ust.compartment_spill_bucket_installed_chk | 0
failed check constraint gu_ust.compartment_tank_automatic_tank_gauging_release_detection_chk | 0
failed check constraint gu_ust.compartment_tank_interstitial_monitoring_chk | 0
failed check constraint gu_ust.compartment_tank_inventory_control_chk | 0
failed check constraint gu_ust.compartment_tank_manual_tank_gauging_chk | 0
failed check constraint gu_ust.compartment_tank_other_release_detection_chk | 0
failed check constraint gu_ust.compartment_tank_subpart_k_other_chk | 0
failed check constraint gu_ust.compartment_tank_tightness_testing_chk | 0
failed check constraint gu_ust.compartment_tank_vapor_monitoring_chk | 0
Unmapped elements in gu_ust.v_ust_compartment | 0
Number of duplicated key columns in gu_ust.v_ust_compartment_substance (facility_id, tank_id, compartment_id, substance_id) | 0
nonunique rows in gu_ust.v_ust_compartment_substance | 0
Unmapped elements in gu_ust.v_ust_compartment_substance | 0
Number of null rows for required column ust_piping.piping_id | 5
Number of duplicated key columns in gu_ust.v_ust_piping (facility_id, tank_id, compartment_id, piping_id) | 0
nonunique rows in gu_ust.v_ust_piping | 0
failed check constraint gu_ust.piping_american_suction_chk | 0
failed check constraint gu_ust.piping_high_pressure_or_bulk_piping_chk | 0
failed check constraint gu_ust.piping_pipe_secondary_containment_other_chk | 0
failed check constraint gu_ust.piping_pipe_secondary_containment_unknown_chk | 0
failed check constraint gu_ust.piping_piping_corrosion_protection_other_chk | 0
failed check constraint gu_ust.piping_piping_corrosion_protection_unknown_chk | 0
failed check constraint gu_ust.piping_piping_interstitial_monitoring_chk | 0
failed check constraint gu_ust.piping_piping_line_leak_detector_chk | 0
failed check constraint gu_ust.piping_piping_line_test3yr_chk | 0
failed check constraint gu_ust.piping_piping_line_test_annual_chk | 0
failed check constraint gu_ust.piping_piping_material_flex_chk | 0
failed check constraint gu_ust.piping_piping_material_frp_chk | 0
failed check constraint gu_ust.piping_piping_material_gal_steel_chk | 0
failed check constraint gu_ust.piping_piping_material_other_chk | 0
failed check constraint gu_ust.piping_piping_material_steel_chk | 0
failed check constraint gu_ust.piping_piping_material_unknown_chk | 0
failed check constraint gu_ust.piping_piping_statistical_inventory_reconciliation_chk | 0
failed check constraint gu_ust.piping_piping_subpart_k_other_chk | 0
failed check constraint gu_ust.piping_safe_suction_chk | 0
Unmapped elements in gu_ust.v_ust_piping | 0
Rows that need to be excluded related to unregulated heating oil | 1
Bad or Missing Data | Details
Extraneous column | gu_ust.v_ust_tank_substance.tank_name
Number of tanks that need to be excluded due to unregulated heating oil. Run script exclude_unregulated.py and rebuild the data views. | 1

## Element Mapping
EPA Table Name | EPA Column Name | Organization Table Name | Organization Column Name | Element Mapping ID | Programmer Comments | Query Logic | EPA Comments | Organization Comments | Inferred Value Comment
ust_facility | facility_id | Facility | Permit Number | 3548
ust_facility | facility_name | Facility | Facility Name | 3549
ust_facility | facility_type1 | Facility | Facility Description | 3550
ust_facility | facility_address1 | Facility | Address | 3551
ust_facility | facility_city | Facility | City | 3552
ust_facility | facility_owner_company_name | Facility | Owner | 3553
ust_tank | facility_id | Tank | FacilityID | 3554
ust_tank | tank_id | Tank | TankID | 3555
ust_tank | tank_name | Tank | TankName | 3556
ust_tank | tank_status_id | Tank | TankStatus | 3557
ust_tank | federally_regulated | Tank | FederallyRegulated | 3558
ust_tank | multiple_tanks | Tank | MultipleTanks | 3559 |  | When MultipleTanks <> 1 then Yes, when MultipleTanks = 1 then No
ust_tank | tank_installation_date | Tank | TankInstallationDate | 3560
ust_tank | tank_material_description_id | Tank | TankMaterialDescription | 3561
ust_tank | tank_corrosion_protection_sacrificial_anode | Tank | TankCorrosionProtectionSacrificialAnode | 3562 |  | When TankCorrosionProtectionSacrificialAnode is not null then Yes, else null
ust_tank | tank_corrosion_protection_impressed_current | Tank | TankCorrosionProtectionImpressedCurrent | 3563 |  | When TankCorrosionProtectionImpressedCurrent is not null then Yes, else null
ust_tank | tank_corrosion_protection_interior_lining | Tank | TankCorrosionProtectionInteriorLining | 3564 |  | When TankCorrosionProtectionInteriorLining is not null then Yes, else null
ust_tank | tank_corrosion_protection_other | Tank | TankCorrosionProtectionOther | 3565
ust_tank | tank_corrosion_protection_unknown | Tank | TankCorrosionProtectionUnknown | 3566 |  | When TankCorrosionProtectionUnknown is not null then Yes, else null
ust_tank | tank_secondary_containment_id | Tank | NumberOfCompartments | 3567 | Column names mixed up in original data
ust_tank_substance | facility_id | Tank | FaciltiyID | 3568
ust_tank_substance | tank_id | Tank | TankID | 3569
ust_tank_substance | tank_name | Tank | TankName | 3570
ust_tank_substance | substance_id | Compartment | CompartmentSubstanceStored | 3571
ust_compartment | facility_id | Compartment | FacilityID | 3572
ust_compartment | tank_id | Compartment | TankID | 3573
ust_compartment | tank_name | Compartment | TankName | 3574
ust_compartment | compartment_id | erg_compartment_id | compartment_id | 3625 | This required field is not present in the source data. Table erg_compartment_id was created by ERG so the data can conform to the EPA template structure.
ust_compartment | compartment_status_id | Tank | TankStatus | 3576
ust_compartment | compartment_capacity_gallons | Compartment | CompartmentCapacityGallons | 3577
ust_compartment | overfill_prevention_ball_float_valve | Compartment | OverfillPreventionBallFloatValve | 3578 |  | When OverfillPreventionBallFloatValve is not null then Yes, else null
ust_compartment | overfill_prevention_flow_shutoff_device | Compartment | OverfillPreventionFlowShutoffDevice | 3579 |  | When OverfillPreventionFlowShutoffDevice is not null then Yes, else null
ust_compartment | overfill_prevention_high_level_alarm | Compartment | OverfillPreventionHighLevelAlarm | 3580 |  | When OverfillPreventionHighLevelAlarm is not null then Yes, else null
ust_compartment | overfill_prevention_other | Compartment | OverfillPreventionOther | 3581
ust_compartment | overfill_prevention_unknown | Compartment | OverfillPreventionUnknown | 3582 |  | When OverfillPreventionUnknown is not null then Yes, else null
ust_compartment | spill_bucket_installed | Compartment | SpillBucketInstalled | 3583 |  | When SpillBucketInstalled is not null then Yes, else null
ust_compartment | tank_interstitial_monitoring | Compartment | TankInterstitialMonitoring | 3584 |  | When TankInterstitialMonitoring is not null then Yes, else null
ust_compartment | tank_automatic_tank_gauging_release_detection | Compartment | TankAutomaticTankGaugingReleaseDetection | 3585 |  | When TankAutomaticTankGaugingReleaseDetection is not null then Yes, else null
ust_compartment | automatic_tank_gauging_continuous_leak_detection | Compartment | AutomaticTankGaugingContinuousLeakDetection | 3586 |  | When AutomaticTankGaugingContinuousLeakDetection is not null then Yes, else null
ust_compartment | tank_manual_tank_gauging | Compartment | TankManualTankGauging | 3587 |  | When TankManualTankGauging is not null then Yes, else null
ust_compartment | tank_tightness_testing | Compartment | TankTightnessTesting | 3588 |  | When TankTightnessTesting is not null then Yes, else null
ust_compartment | tank_inventory_control | Compartment | TankInventoryControl | 3589 |  | When TankInventoryControl is not null then Yes, else null
ust_compartment | tank_vapor_monitoring | Compartment | TankVaporMonitoring | 3590 |  | When TankVaporMonitoring is not null then Yes, else null
ust_compartment | tank_subpart_k_other | Compartment | TankSubpartKOther | 3591 |  | When TankSubpartKOther is not null then Yes, else null
ust_compartment | tank_other_release_detection | Compartment | TankOtherReleaseDetection | 3592 |  | When TankOtherReleaseDetection is not null then Yes, else null
ust_compartment_substance | facility_id | Compartment | FacilityID | 3593
ust_compartment_substance | tank_id | Compartment | TankID | 3594
ust_compartment_substance | tank_name | Compartment | TankName | 3595
ust_compartment_substance | compartment_id | erg_compartment_id | compartment_id | 3628 | This required field is not present in the source data. Table erg_compartment_id was created by ERG so the data can conform to the EPA template structure.
ust_compartment_substance | substance_id | Compartment | CompartmentSubstanceStored | 3597
ust_piping | facility_id | Piping | FacilityID | 3598
ust_piping | tank_id | Piping | TankID | 3599
ust_piping | tank_name | Piping | TankName | 3600
ust_piping | compartment_id | erg_compartment_id | compartment_id | 3626 | This required field is not present in the source data. Table erg_compartment_id was created by ERG so the data can conform to the EPA template structure.
ust_piping | piping_id | erg_piping_id | piping_id | 3627
ust_piping | piping_style_id | Piping | PipingStyle | 3602
ust_piping | safe_suction | Piping | SafeSuction | 3603 |  | When SafeSuction is not null then Yes, else null
ust_piping | american_suction | Piping | AmericanSuction | 3604 |  | When AmericanSuction is not null then Yes, else null
ust_piping | high_pressure_or_bulk_piping | Piping | HighPressureOrBulkPiping | 3605 |  | When HighPressureOrBulkPiping is not null then Yes, else null
ust_piping | piping_material_frp | Piping | PipingMaterialFRP | 3606 |  | When PipingMaterialFRP is not null then Yes, else null
ust_piping | piping_material_gal_steel | Piping | PipingMaterialGalSteel | 3607 |  | When PipingMaterialGalSteel is not null then Yes, else null
ust_piping | piping_material_steel | Piping | PipingMaterialSteel | 3608 |  | When PipingMaterialSteel is not null then Yes, else null
ust_piping | piping_material_flex | Piping | PipingMaterialFlex | 3609 |  | When PipingMaterialFlex is not null then Yes, else null
ust_piping | piping_material_other | Piping | PipingMaterialOther | 3610 |  | When PipingMaterialOther is not null then Yes, else null
ust_piping | piping_material_unknown | Piping | PipingMaterialUnknown | 3611 |  | When PipingMaterialUnknown is not null then Yes, else null
ust_piping | piping_corrosion_protection_other | Piping | PipingCorrosionProtectionOther | 3612
ust_piping | piping_corrosion_protection_unknown | Piping | PipingCorrosionProtectionUnknown | 3613 |  | When PipingCorrosionProtectionUnknown is not null then Yes, else null
ust_piping | piping_line_leak_detector | Piping | PipingLineLeakDetector | 3614 |  | When PipingLineLeakDetector is not null then Yes, else null
ust_piping | piping_automated_interstitial_monitoring | Piping | PipingAutomatedIntersticialMonitoring | 3615 |  | When PipingAutomatedIntersticialMonitoring is not null then Yes, else null
ust_piping | piping_line_test_annual | Piping | PipingLineTestAnnual | 3616 |  | When PipingLineTestAnnual is not null then Yes, else null
ust_piping | piping_line_test3yr | Piping | PipingLineTest3yr | 3617 |  | When PipingLineTest3yr is not null then Yes, else null
ust_piping | piping_interstitial_monitoring | Piping | PipingInterstitialMonitoring | 3618 |  | When PipingInterstitialMonitoring is not null then Yes, else null
ust_piping | piping_statistical_inventory_reconciliation | Piping | PipingStatisticalInventoryReconciliation | 3619 |  | When PipingStatisticalInventoryReconciliation is not null then Yes, else null
ust_piping | piping_subpart_k_other | Piping | PipingSubpartKOther | 3620 |  | When PipingSubpartKOther is not null then Yes, else null
ust_piping | pipe_secondary_containment_other | Piping | PipeSecondaryContainmentOther | 3621 |  | When PipeSecondaryContainmentOther is not null then Yes, else null
ust_piping | pipe_secondary_containment_unknown | Piping | PipeSecondaryContainmentUnknown | 3622 |  | When PipeSecondaryContainmentUnknown is not null then Yes, else null