## Overview
CERS UST Facility/Tank Data Download
This spreadsheet contains UST Facility, Tank, Monitoring Plan, and Certification of Installation/Modification data exported from the California Environmental Reporting System (CERS). Use Excel's worksheet tabs or the hyperlinks below to access the export data. Please note, this exported data only includes data that has been "Accepted" by Regulators. Any UST Facility data that has been "Submitted" but has never been "Accepted" by a Regulator is not shown.
Tank counts:
• | The ‘UST Facility Info’ table (the first generated worksheet) Field 404, ‘Total Number of USTs’, provides a count of all active tanks listed in the last accepted submittal shown on that table. It may not be equal to the next worksheet ‘UST Tank and Monitoring Plan Info Count of Exported Records’ shown on this page. The UST Tank and Monitoring Plan Info is a count of all tanks reported on all accepted submittals. In some cases, such as if a tank ID is altered or a business user reports additional tanks on a submittal, there will be tanks reported on one submittal and not on another. The ‘UST Tank and Monitoring Plan Info Count of Exported Records’ includes all such tanks.
• | Date Range vs No Date Range:
| o | Tanks reported in CERS that do not have a tank install date will be reported if no date range is selected. They will not be reported if a date range is selected.
| o | UPA staff are encouraged to ensure that all active tanks have a tank installation date and that all permanently closed or removed tanks have a tank closure date.
• | Report 6: This report will report all tanks and therefore should be consistent with ‘UST Tank and Monitoring Plan Info Count of Exported Records’. The date range limitations are also the same, tank records with no date installed or closed will not be counted if the report is run with a date range.
Data Export Date/Time: |  |  | 8/14/2024 3:40:09 PM
Record Filtering Criteria (if any): |  |  | Facility regulated by "Healdsburg/Sebastopol JPA".
Generated Worksheets |  |  | Count of Exported Records
UST Facility Info |  |  | 15
UST Tank & Monitoring Plan Info |  |  | 43
UST Cert of Installation & Mod |  |  | 0
For more information about the meaning of the Unified Program Data Dictionary (UPDD) codes, visit the CUPA Data Registry at the following URL:
https://cersapps.calepa.ca.gov/DataRegistry

## UST Facility Info
Facility Identification and Location | [9 empty] | General UST Facility Permit Info | [6 empty] | Property Owner | [6 empty] | Tank Owner | [7 empty] | Tank Operator | [6 empty] | Petroleum UST Financial Responsibility Mechanism(s) | [10 empty] | Certification / Applicant Information |  |  |  | Submittal / Acceptance Information |  |  |  | Regulator Information
1a | 1 |  |  | 3 | 103 | 104 |  |  |  | 400 | 403 | 421 | 423 | 404 | 405 | 406 | 407 | 408 | 409 | 410 | 411 | 412 | 412a | 414 | 415 | 416 | 417 | 418 | 419 | 419a | 420 | 428-1 | 428-2 | 428-3 | 428-4 | 428-5 | 428-6 | 428-7 | 422-1 | 422-2 | 422-3 | 422-4 | 422-5 | 422-6 | 422-8 | 422-9 | 422-10 | 422-99 | 422-99a | 424 | 426 | 427 | 425
CERS ID | Facility ID | Organization Name | Organization Code | Facility Name | Facility Street Address | Facility City | Facility ZIP Code | Latitude Measure | Longitude Measure | Type of Action | UST Facility Type | BOE Number | Permit Holder Notification Information | Total Number of USTs | Indian or Trust Land | Supervisor of Division, Section, or Office | Name | Phone | Mailing Address | City | State | ZIP Code | Country | Name | Phone | Mailing Address | City | State | ZIP Code | Country | Type | Name | Phone | Mailing Address | City | State | ZIP Code | Country | Self- Insured | Guarantee | Insurance | Surety Bond | Letter of Credit | Exemption | State Fund and CFO letter | State Fund and CD | Local Government Mechanism | Other | Other Description | Date Certified | Applicant Name | Applicant Title | Applicant Phone | Date Submitted to CERS | Date Accepted by Regulator | Regulator Comment | Regulator Agent Name | Regulator Name | Regulator Type
10112680 | 49-002-600236 | Fast Lane Gas #2 | 90038635 | Fast Lane Gas #2 | 111 Healdsburg Ave | Healdsburg | 95448 | 38.6052 | -122.869 | Renewal Permit | Motor Vehicle Fueling | 44041234 | Facility Owner | 3 | No |  | B&G Group, Inc | 707-431-3510 | 111 Healdsburg Ave Ste C | Healdsburg | CA | 95448 | United States | B&G Group, Inc | 7074313510 | 111 Healdsburg Ave Ste C | Healdsburg | CA | 95448 | United States | Non-Government | B&G Group, Inc | 707-431-3510 | 111 Healdsburg Ave Ste C | Healdsburg | CA | 95448 | United States | No | No | No | No | No | No | Yes | No | No | No |  |  | Hardeep Gill | Operations Manager | 707-431-3510 | 2022-02-01 12:32 | 2022-02-04 14:48 | I contacted Hardeep Gil and he made corrections to the UST Tank and monitoring information. | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10112770 | 49-002-600017 | PACIFIC BELL TELEPHONE COMPANY dba AT&T CALIFORNIA | 90002299 | AT&T California - TD124 | 247 East St | Healdsburg | 95448 | 38.6102 | -122.8684 | Confirmed/Updated Information | Other | 44031914 | Tank Operator | 1 | No |  | Pacific Bell Telephone Company dba AT&T California | (800) 566-9347 | 308 S. Akard St., 17th Floor | Dallas | TX | 75202 | United States | Pacific Bell Telephone Company dba AT&T California | (800) 566-9347 | 308 S. Akard St., 17th Floor | Dallas | TX | 75202 | United States | Non-Government | Pacific Bell Telephone Company dba AT&T California | (800) 566-9347 | 308 S. Akard St., 17th Floor | Dallas | TX | 75202 | United States | No | No | Yes | No | No | No | No | No | No | No |  |  | Sarah Bullock | Authorized Agent to AT&T | (800) 566-9347 | 2022-01-07 13:59 | 2022-01-30 21:03 |  | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10112773 | 49-002-600508 | Flyers Energy LLC | 90000064 | Flyers # 476 | 1221 Healdsburg Ave | Healdsburg | 95448 | 38.6252 | -122.8728 | Confirmed/Updated Information | Motor Vehicle Fueling | 44043665 | Facility Operator | 4 | No |  | Barbieri Appointment Tax Deferral Trust | 707-546-0766 | 3851 Glen Eagle Ct. | Santa Rosa | CA | 95402 | United States | Barbieri Appointment Tax Deferral Trust | 707-546-0766 | 3851 Glen Eagle Ct. | Santa Rosa | CA | 95402 | United States | Non-Government | Flyers Energy LLC | 530-885-0401 | 2360 Lindbergh Street | Auburn | CA | 95602 | United States | No | No | No | No | No | No | Yes | No | No | No |  |  | Elizabeth Orizaga | Compliance Coordinator | 530-885-0401 | 2022-02-03 09:39 | 2022-02-03 10:42 |  | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10112785 | 49-002-600098 | City of Healdsburg | 90000199 | Healdsburg Airport | 1500 Lytton Springs Rd | Healdsburg | 95448 | 37.2719 | -119.2702 | Renewal Permit | Motor Vehicle Fueling | 44028119 | Facility Owner | 2 | No | Public Works | City of Healdsburg | (707) 431-3333 | 401 Grove St. | Healdsburg | CA | 95448 | United States | City of Healdsburg | (707) 431-3333 | 401 Grove St. | Healdsburg | CA | 95448 | United States | Local Agency/District | City of Healdsburg | (707) 431-3333 | 401 Grove St. | Healdsburg | CA | 95448 | United States | No | No | No | No | No | No | Yes | No | No | No |  |  | Brent Salmi | Public Works Director | (707) 431-3333 | 2022-02-24 23:05 | 2022-05-04 09:38 |  | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10112884 | 49-002-600115 | HEALDSBURG DISTRICT HOSPITAL | 90039271 | HEALDSBURG DISTRICT HOSPITAL | 1375 UNIVERSITY AVE | HEALDSBURG | 95448 | 37.2719 | -119.2702 | Confirmed/Updated Information | Other | 44032062 | Facility Operator | 1 | No | PLANT OPERATIONS | NORTH SONOMA COUNTY HOSPITAL DISTRICT | 707-431-6500 | 1375 UNIVERSITY AVE | HEALDBSURG | CA | 95448 | United States | NORTH SONOMA COUNTY HOSPITAL DISTRICT | 707-431-6500 | 1375 UNIVERSITY AVE | HEALDSBURG | CA | 95448 | United States | State Agency | HEALDSBURG DISTRICT HOSPITAL | 707-431-6440 | 1375 UNIVERSITY AVE | HEALDSBURG | CA | 95448 | United States | Yes | No | Yes | No | No | No | No | No | No | No |  |  | GARY SCHILLING | FACILITY SERVICES DIRECTOR | (707) 431-6440 | 2021-10-25 16:39 | 2021-10-26 15:51 | Hi Brian:All tanks were required to install a striker plate and the tank is new enough to have that. I would check your documents because you have no listed and ask Nik if he knows the make of the tank since he is completing the overfill prevention and using the tank charts. Then you can put that instated of unknown. Linda Collister | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10112935 | 49-002-600351 | Robinson Oil Corporation | 90167674 | Rotten Robbie #63 | 535 Healdsburg Ave | Healdsburg | 95448 | 38.6149 | -122.8721 | Confirmed/Updated Information | Motor Vehicle Fueling | 44026614 | Tank Operator | 3 | No |  | Robinson Oil Corporation | (408) 327-4300 | 955 Martin Avenue | Santa Clara | CA | 95050 | United States | Robinson Oil Corporation | (408) 327-4300 | 955 Martin Avenue | Santa Clara | CA | 95050 | United States | Non-Government | Robinson Oil Corporation | (408) 327-4300 | 955 Martin Avenue | Santa Clara | CA | 95050 | United States | No | No | No | No | No | No | Yes | No | No | No |  |  | David C. Mordick | Enviro Compliance Mgr | (408) 327-4300 | 2021-03-05 14:27 | 2021-03-05 16:01 |  | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10113004 | 49-005-600153 | PACIFIC BELL TELEPHONE COMPANY dba AT&T CALIFORNIA | 90002299 | AT&T California - TD096 | 7430 Bodega Ave | Sebastopol | 95472 | 38.4006 | -122.8283 | Confirmed/Updated Information | Other | 44031914 | Tank Operator | 1 | No |  | Pacific Bell Telephone Company dba AT&T California | (800) 566-9347 | 311 S. Akard Street, Floor 12 | Dallas | TX | 75202 | United States | Pacific Bell Telephone Company dba AT&T California | (800) 566-9347 | 311 S. Akard Street, Floor 12 | Dallas | TX | 75202 | United States | Non-Government | Pacific Bell Telephone Company dba AT&T California | (800) 566-9347 | 311 S. Akard Street, Floor 12 | Dallas | TX | 75202 | United States | No | No | Yes | No | No | No | No | No | No | No |  |  | Sarah Bullock | Authorized Agent to AT&T | (800) 566-9347 | 2024-04-01 10:41 | 2024-04-24 16:38 |  | Lance Macdonald | Healdsburg/Sebastopol JPA | CUPA
10113028 | 49-002-600240 | Redwood Oil Company, Inc. | 90370903 | Sebastopol Chevron | 5640 Sebastopol Rd. | Sebastopol | 95472 | 37.2719 | -119.2702 | Confirmed/Updated Information | Motor Vehicle Fueling | 44002207 | Facility Owner | 3 | No |  | Redwood Oil Company | 707-584-7000 | 50 Professional Center Dr., Ste 100 | Rohnert Park | CA | 94928 | United States | Redwood Oil Company | 707-584-7000 | 50 Professional Center Dr., Ste 100 | Rohnert Park |  |  | United States | Non-Government | Redwood Oil Company | 707-584-7000 | 50 Professional Center Dr., Ste 100 | Rohnert Park |  |  | United States | No | No | No | No | No | No | Yes | No | No | No |  |  | lynn Damato | Admin | 707-584-7000 x 153 | 2023-02-07 11:45 | 2023-10-05 09:44 |  | Lance Macdonald | Healdsburg/Sebastopol JPA | CUPA
10113073 | 49-002-600198 | Robinson Oil Corporation | 90167674 | ROTTEN ROBBIE #62 | 7200 Healdsburg Ave | Sebastopol | 95472 | 38.4055 | -122.8283 | Confirmed/Updated Information | Motor Vehicle Fueling | 44026614 | Facility Operator | 5 | No |  | Robinson Oil Corporation | (408) 327-4300 | 955 Martin Ave | Santa Clara | CA | 95050 | United States | Robinson Oil Corporation | (408) 327-4300 | 955 Martin Ave | Santa Clara | CA | 95050 | United States | Non-Government | Robinson Oil Corporation | (408) 327-4300 | 955 Martin Ave | Santa Clara | CA | 95050 | United States | No | No | No | No | No | No | Yes | No | No | No |  |  | David C. Mordick | Enviromental Compliance Manager | (408) 327-4300 | 2022-02-14 08:53 | 2022-03-28 12:18 |  | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10117264 | 49-002-600027 | Zimmerman Fuel | 90051268 | Zimmerman Fuel | 1329 Grove Street | Healdsburg | 95448 | 37.1481 | -119.6442 | Renewal Permit | Motor Vehicle Fueling | 44028116 | Facility Owner | 4 | No | Jacolyn Zimmerman | Zimmerman Fuel | 707-433-4407 | PO Box 576 | Healdsburg | CA | 95448 | United States | Zimmerman Fuel | 707-433-4407 | PO Box 576 | Healdsburg | CA | 95448 | United States | Non-Government | Zimmerman Fuel | 707-433-4407 | PO Box 576 | Healdsburg | CA | 95448 | United States | No | No | No | No | No | No | Yes | No | No | No |  |  | Jacolyn Zimmerman | President | 707-433-4407 | 2021-03-05 16:54 | 2021-03-08 17:42 |  | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10121191 | 49-002-600163 | Patterson Automotive | 90623761 | Patterson Automotive Repair | 720 S. Main St. | Sebastopol | 95472 | 37.2719 | -119.2702 | Permanent Facility Closure | Motor Vehicle Fueling | 440511631 | Tank Owner | 0 | No |  | Kambiz Kafai | (707) 823-4783 | 720 S. Main St | Sebastopol | CA | 95472 | United States | Kambiz Kafai | (707) 823-4783 | 720 S. Main St | Sebastopol | CA | 95472 | United States | Non-Government | Kambiz Kafai | (707) 823-4783 | 720 S. Main St | Sebastopol | CA | 95472 | United States | Yes | No | No | No | No | No | No | No | No | No | [5 empty] | 2023-02-23 11:36 | 2023-02-23 11:46 | This was a proxy submittal requested by the State Waterboards to close the the three tanks that were removed 2/20/2014 prior to Patterson Automotive. LC | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10122994 | 49-002-600351 | HEALDSBURG GAS MART | 90072418 | HEALDSBURG GAS MART, INC | 1281 HEALDSBURG AVE. | HEALDSBURG | 95448 | 37.1481 | -119.6442 | Confirmed/Updated Information | Motor Vehicle Fueling | 44084239 | Facility Owner | 4 | No |  | Kulwant Singh | 707-217-3713 | 1281 Healdsburg Ave | Healdsburg | CA | 95448 | United States | Kulwant Singh | 707-217-3713 | 1281 Healdsburg Ave | Healdsburg | CA | 95448 | United States | Non-Government | Healdsburg Gas Mart | 707-433-3543 | 1281 Healdsburg Ave | Healdsburg | CA | 95448 | United States | No | No | No | No | No | No | Yes | No | No | No |  |  | Kulwant Singh | Owner | 707-217-3713 | 2023-01-05 07:01 | 2023-10-05 09:58 |  | Lance Macdonald | Healdsburg/Sebastopol JPA | CUPA
10132141 | 49-002-600178 | Sebastopol Fast Gas | 90105079 | Sebastopol Fast Gas | 1080 Gravenstein Hwy S | Sebastopol | 95472 | 37.2719 | -119.2702 | Confirmed/Updated Information | Motor Vehicle Fueling | 100711012 | Facility Owner | 3 | No |  | Ali Kazemini | 707-953-7968 | 1080 Gravenstein Hwy S | Sebastopol | CA | 95472 | United States | Ali Kazemini | 707-953-7968 | 1080 Gravenstein Hwy S | Sebastopol | CA | 95472 | United States | Non-Government | Ali Kazemini | 707-953-7968 | 1080 Gravenstein Hwy S | Sebastopol | CA | 95472 | United States | No | No | Yes | No | No | No | No | No | No | No | [5 empty] | 2021-09-19 10:45 | 2021-10-04 05:16 |  | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10133794 | 49-002-600178 | JERRY'S VALERO | 90111502 | JERRY'S VALERO | 186 Dry Creek | Healdsburg | 95448 | 37.2719 | -119.2702 | Confirmed/Updated Information | Motor Vehicle Fueling | 44041237 | Facility Owner | 3 | No |  | jerry beth | 7074332174 | 754 white gates ave | healdsburg | ca | 95448 | United States | jerry beth | 7074334070 | 754 white gates ave | healdsburg | ca | 95448 | United States | Non-Government | jerry beth | 7074334070 | 754 white gates ave | healdsburg | ca | 95448 | United States | No | No | Yes | No | No | No | Yes | Yes | No | No | [5 empty] | 2022-12-01 10:44 | 2023-06-06 13:01 |  | Lance Macdonald | Healdsburg/Sebastopol JPA | CUPA
10399522 | 49-002-600336 | BRENTWOOD GAS & MORE | 90615466 | Healdsburg Chevron & Carwash | 1496 Healdsburg Ave | Healdsburg | 95448 | 38.6292 | -122.8722 | Confirmed/Updated Information | Motor Vehicle Fueling | 44053492 | Tank Operator | 3 | No |  | Sodhi & Sons, Inc | 925-301-7783 | 1496 Healdsburg Ave | Healdsburg | CA | 95448 | United States | Sodhi & Sons, Inc | 925-301-7783 | 1496 Healdsburg Ave | Healdsburg | CA | 95448 | United States | Non-Government | Sukhwinder Singh | 925-301-7783 | 1496 Healdsburg Ave | Healdsburg | CA | 95448 | United States | No | No | No | No | No | No | Yes | No | No | No | [5 empty] | 2023-01-05 07:18 | 2023-06-06 14:51 |  | Lance Macdonald | Healdsburg/Sebastopol JPA | CUPA

## UST Tank & Monitoring Plan Info
Facility Identification and Location | [7 empty] | General UST Tank Permit Info | [10 empty] | Tank Use and Contents |  |  |  |  | Tank Construction |  |  |  |  | Tank Overfill Prevention |  |  |  | Product / Waste Piping Construction | [6 empty] | Vent Piping Construction |  |  |  | Vent Piping Transition Sumps | Vapor Recovery (VR) Piping Construction |  |  |  | Riser / Fill Pipe Piping Construction |  |  |  | Fill Components Installed |  |  | Under Dispenser Containment (UDC) |  |  | Corrosion Prevention |  |  | UST Tank Certification / Applicant Information |  |  | Equipment Testing and Preventive Maintenance |  | Site Plot Plan Submitted | Continuous Electronic Tank Monitoring | [5 empty] | Automatic Tank Gauging | [8 empty] | Monthly Statistical Inventory Reconciliation | Weekly Manual Tank Gauge |  | Tank Integrity Testing |  |  | Other Tank Monitoring |  | Continuous Monitoring of Piping Secondary Containment | [7 empty] | Mechanical Line Leak Detector Performs 3 GPH Leak Test |  |  | Electronic Line Leak Detector Performs 3 GPH Leak Test | [5 empty] | Pipeline Integrity Testing |  |  | Visual Pipeline Monitoring |  | Suction Piping Meets Exemption Criteria | No Regulated Piping Per Health and Safety Code, Division 20, Chapter 6.7 Is Connected To The Tank System | Other Pipeline Monitoring |  | Under Dispenser Containment (UDC) Monitoring | [12 empty] | Periodic System Testing |  |  | Recordkeeping | [7 empty] | Training | [9 empty] | Comments and Additional Information | Personnel Responsibilities |  |  |  | UST Monitoring Plan Certification / Applicant Information |  |  |  | Submittal / Acceptance Information |  |  | Regulator Information
1a | 1 |  |  | 3 | 103 | 104 |  | 430 | 432 | 432-a | 433 | 434 | 436 | 435 | 430-a | 430-b | 437 | 438 | 439 | 439a | 440 | 440a | 440b | 443 | 444 | 444a | 445 | 445a | 452a | 452b | 452c | 452d | 460 | 458 | 464 | 464a | 464b | 464c | 464d | 464e | 464e1 | 464f | 464f1 | 464i | 464g | 464g1 | 464h | 464h1 | 464j | 464j1 | 464k | 464k1 | 451-a | 451-b | 451-c | 469a | 469b | 469c | 448a | 448b | 448c | 470 | 471 | 472 | 490-3a | 490-3b | 490-4 | 490-5 | 490-6 | 490-7 | 490-8 | 490-9 | 490-10 | 490-11 | 490-12 | 490-13 | 490-14 | 490-15 | 490-16 | 490-17 | 490-18 | 490-19 | 490-20 | 490-21 | 490-22 | 490-23 | 490-24 | 490-25 | 490-26 | 490-27 | 490-28 | 490-29 | 490-30 | 490-31 | 490-32 | 490-33 | 490-34 | 490-35 | 490-36 | 490-37 | 490-38 | 490-39 | 490-40 | 490-41 | 490-42 | 490-43 | 490-44 | 490-45 | 490-46 | 490-47 | 490-48 | 490-49 | 490-50 | 490-51 | 490-52 | 490-53 | 490-54a | 490-54b | 490-55 | 490-56 | 490-57 | 490-58 | 490-59 | 490-60 | 490-61 | 490-62 | 490-63 | 490-64a | 490-64b | 490-65 | 490-66 | 490-67 | 490-68a | 490-68b | 490-68c | 490-68d | 490-68e | 490-68f | 490-68g | 490-68h | 490-69a | 490-69b | 490-69c | 490-69d | 490-69e | 490-69f | 490-69g | 490-69h | 490-69i | 490-70 | 490-71 | 490-72 | 490-73 | 490-74 | 490-75 | 490-76 | 490-77 | 490-78 | 490-79
CERS ID | Facility ID | Organization Name | Organization Code | Facility Name | Facility Street Address | Facility City | Facility ZIP Code | Type of Action | Tank ID # | CERS TankID | Tank Manufacturer | Tank Configuration | Tank Capacity In Gallons | Date UST System Installed | Date UST Permanently Closed | Date Existing UST Discovered | Number of Compartments in the Unit | Additional Description | Tank Use | Specify Other Tank Use | Tank Contents | Specify Other Petroleum | Specify Other Non-Petroleum | Type of Tank | Tank Primary Containment Construction | Other Primary Containment Construction | Tank Secondary Containment Construction | Other Secondary Containment Construction | Audible/ Visual Alarms | Ball Float | Fill Tube Shut-Off Valve | Exempt | Piping Construction | Piping System Type | Primary Containment Construction | Other Primary Containment Construction | Secondary Containment Construction | Other Secondary Containment Construction | Piping/Turbine Containment Sump | Primary Containment Construction | Other Primary Containment Construction | Secondary Containment Construction | Other Secondary Containment Construction | Vent Piping Transition Sumps | Primary Containment Construction | Other Primary Containment Construction | Secondary Containment Construction | Other Secondary Containment Construction | Primary Containment Construction | Other Primary Containment Construction | Secondary Containment Construction | Other Secondary Containment Construction | Spill Bucket Installed | Striker Plate / Bottom Protector Installed | Containment Sump | Construction Type | Construction Material | Other Construction Material | Sacrificial Anode | Impressed Current | Isolation | Date Certified | Applicant Name | Applicant Title | Monitoring Equipment Serviced | Other Frequency of Monitoring Equipment Service | Site Plot Plan Submitted | Continuous Electronic Tank Monitoring | Tank Secondary Containment System | Electronic Monitor Panel Manufacturer | Electronic Monitor Panel Model # | Leak Sensor Manufacturer | Leak Sensor Model # | Automatic Tank Gauging | ATG Panel Manufacturer | ATG Model # | In-Tank Probe Manufacturer | In-tank Probe Model # | Tank Leak Test Frequency | Other Leak Test Frequency | Programmed Tank Tests | Other Programmed Tests | Monthly Statistical Inventory Reconciliation | Weekly Manual Tank Gauge | Tank Gauging Test Period | Tank Integrity Testing | Tank Integrity Testing Frequency | Other Tank Integrity Testing Frequency | Other Monitoring | Specify Other Monitoring | Continuous Monitoring of Piping Secondary Containment | Piping Secondary Containment | Panel Manufacturer | Panel Model # | Leak Sensor Manufacturer | Leak Sensor Model # | Leak Alarm Triggers Automatic Pump Shutdown | Failure/Disconnect Triggers Pump Shutdown | Mechanical Line Leak Detector Performs 3 GPH Leak Test | MLLD Manufacturer | MLLD Model # | Electronic Line Leak Detector Performs 3 GPH Leak Test | ELLD Manufacturer | ELLD Model # | ELLD Programmed In-Line Testing | ELLD Triggers Automatic Pump Shutdown | ELLD Failure/Disconnect Triggers Automatic Shutdown | Pipeline Integrity Testing | Pipeline Integrity Testing Frequency | Other Pipeline Integrity Testing Frequency | Visual Pipeline Monitoring | Visual Pipeline Monitoring Frequency | Suction Piping Meets Exemption Criteria | No Regulated Piping Per Health and Safety Code, Division 20, Chapter 6.7 Is Connected To The Tank System | Other Pipeline Monitoring | Other Pipeline Monitoring Description | UDC Monitoring | Other UDC Monitoring | UDC Panel Manufacturer | UDC Panel Model # | UDC Leak Sensor Manufacturer | UDC Leak Sensor Model # | Detection of Leak into UDC Triggers Audible and Visual Alarms | UDC Leak Alarm Triggers Automatic Pump Shutdown | Failure/Disconnection of UDC Monitoring System Triggers Automatic Pump Shutdown | UDC Monitoring Stops Flow of Product at Dispenser | UDC Construction | UDC Secondary Containment Monitoring | Leak Within Secondary Containment of UDC Causes Audible and Visual Alarms | ELD Testing | Secondary Containment Testing | Spill Bucket Testing | Alarm Logs | Visual Inspection Records | Tank Integrity Testing Results | SIR Testing Results | Tank Gauging Results | ATG Testing Results | Corrosion Protection Logs | Equipment Maintenance and Calibration Records | Personnel with UST Monitoring Responsibilities are Familiar with Training Documents | UST Monitoring Plan | Operating Manuals | CA UST Regulations | CA UST Law | SWRCB Handbook for Tank Owners - Manual and SIR | SWRCB Publication: Understanding Automatic Tank Gauging Systems | Other Training Documents | Other Training Documents Description | Designated Operator Training | Comments and Additional Information | Name of First Person Having Responsibility | Title of First Person Having Responsibility | Name of Second Person Having Responsibility | Title of Second Person Having Responsibility | Signature Representation | Signature Date | Applicant Name | Applicant Title | Date Submitted to CERS | Date Accepted by Regulator | Regulator Agent Name | Regulator Name | Regulator Type
10112680 | 49-002-600236 | Fast Lane Gas #2 | 90038635 | Fast Lane Gas #2 | 111 Healdsburg Ave | Healdsburg | 95448 | Renewal Permit | 3 | 10112680-003 | Modern Welding | A Stand-alone Tank | 2000 | 2001-09-01 |  |  | 1 |  | Motor Vehicle Fueling |  | Regular Unleaded |  |  | Double Wall | Steel |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Flexible |  | Flexible |  | Double-walled | Fiberglass |  | Fiberglass |  | Double-walled | Fiberglass |  | Fiberglass |  | Fiberglass |  | Fiberglass |  | Yes | Yes | Yes | Double-walled | Fiberglass |  | No | No | Yes |  | Hardeep Gill | Operations Manager | Annually |  | Site Plan Previously Submitted | Yes | Dry | Veeder Root | TLS-350 | Veeder Root | 794390-420/208 | No | [8 empty] | No | No |  | No |  |  | No |  | No | [7 empty] | Yes | VMI | MLLD 2000 | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  |  |  | Veeder Root | 794380-322 | Yes | Yes | Yes | No | Single-walled |  |  | No | Yes | Yes | Yes | No | No | No | No | No | No | Yes | Yes | [8 empty] | Yes |  | Hardeep Gill | Operations Manager |  |  | Tank Owner/Operator |  | Hardeep Gill | Operations Manager | 2022-02-01 12:32 | 2022-02-04 14:48 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10112680 | 49-002-600236 | Fast Lane Gas #2 | 90038635 | Fast Lane Gas #2 | 111 Healdsburg Ave | Healdsburg | 95448 | Renewal Permit | 2 | 10112680-002 | Modern Welding | One in a Compartmented Unit | 12000 | 2001-09-01 |  |  | 2 |  | Motor Vehicle Fueling |  | Regular Unleaded |  |  | Double Wall | Steel |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Flexible |  | Flexible |  | Double-walled | Fiberglass |  | Fiberglass |  | Double-walled | Fiberglass |  | Fiberglass |  | Fiberglass |  | Fiberglass |  | Yes | Yes | Yes | Double-walled | Fiberglass |  | No | No | Yes |  | Hardeep Gill | Operations Manager | Annually |  | Site Plan Previously Submitted | Yes | Dry | Veeder Root | TLS-350 | Veeder Root | 794390-420/208 | No | [8 empty] | No | No |  | No |  |  | No |  | No | [7 empty] | Yes | VMI | MLLD 2000 | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  |  |  | Veeder Root | 794380-322 | Yes | Yes | Yes | No | Single-walled |  |  | No | Yes | Yes | Yes | No | No | No | No | No | No | Yes | Yes | [8 empty] | Yes |  | Hardeep Gill | Operations Manager |  |  | Tank Owner/Operator |  | Hardeep Gill | Operations Manager | 2022-02-01 12:32 | 2022-02-04 14:48 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10112680 | 49-002-600236 | Fast Lane Gas #2 | 90038635 | Fast Lane Gas #2 | 111 Healdsburg Ave | Healdsburg | 95448 | Renewal Permit | 1 | 10112680-001 | Modern Welding | One in a Compartmented Unit | 8000 | 2001-09-01 |  |  | 2 |  | Motor Vehicle Fueling |  | Diesel |  |  | Double Wall | Steel |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Flexible |  | Flexible |  | Double-walled | Fiberglass |  | Fiberglass |  | Double-walled | Fiberglass |  | Fiberglass |  | Fiberglass |  | Fiberglass |  | Yes | Yes | Yes | Double-walled | Fiberglass |  | No | No | Yes |  | Hardeep Gill | Operations Manager | Annually |  | Site Plan Previously Submitted | Yes | Dry | Veeder Root | TLS-350 | Veeder Root | 794390-420/208 | No | [8 empty] | No | No |  | No |  |  | No |  | No | [7 empty] | Yes | VMI | MLLD 2000 | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  |  |  | Veeder Root | 794380-322 | Yes | Yes | Yes | No | Single-walled |  |  | No | Yes | Yes | Yes | No | No | No | No | No | No | Yes | Yes | [8 empty] | Yes |  | Hardeep Gill | Operations Manager |  |  | Tank Owner/Operator |  | Hardeep Gill | Operations Manager | 2022-02-01 12:32 | 2022-02-04 14:48 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10112770 | 49-002-600017 | PACIFIC BELL TELEPHONE COMPANY dba AT&T CALIFORNIA | 90002299 | AT&T California - TD124 | 247 East St | Healdsburg | 95448 | Confirmed/Updated Information | TD124U001 | 10112770-001 | Joor | A Stand-alone Tank | 1000 | 1988-01-01 |  |  | 1 | Located outside on the southwest corner of the building. | Emergency Generator Fuel |  | Diesel |  |  | Double Wall | Steel |  | Other |  | Yes | No | No | No | Double-walled | Conventional Suction | Flexible |  | Flexible |  | Single-walled | Fiberglass |  | Fiberglass |  | Single-walled | None |  | None |  | Steel |  | Fiberglass |  | Yes | Yes | Yes | No Dispensers |  |  | No | No | Yes |  | Sarah Bullock | Authorized Agent to AT&T | Annually |  | New Plan Submitted | Yes | Dry | Veeder-Root | TLS-350 Plus | Veeder-Root | 794390-420 | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Dry | Veeder-Root | TLS-350 Plus | Veeder-Root | 794380-208 | No | No | No |  |  | No | [5 empty] | No |  |  | Yes |  | No | No | No |  | No Dispensers | [12 empty] | No | Yes | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | [8 empty] | Yes | (L2)Annular Space,(L5)Prod Sump Box Sensor 794390-420;(L1)Tank Sump,(L3)Prod (Transition) Piping w/ Sensor,(L4)Vent Sump 794380-208. | Tait Environmental Services | AT&T Authorized Vendor | AT&T Environmental Health & Safety | Call Center | Authorized Representative of Owner |  | Sarah Bullock | Authorized Agent to AT&T | 2022-01-07 13:59 | 2022-01-30 21:03 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10112773 | 49-002-600508 | Flyers Energy LLC | 90000064 | Flyers # 476 | 1221 Healdsburg Ave | Healdsburg | 95448 | Confirmed/Updated Information | 1 | 10112773-001 | Modern Welding | One in a Compartmented Unit | 12000 | 2001-05-01 |  |  | 2 |  | Motor Vehicle Fueling |  | Regular Unleaded |  |  | Double Wall | Steel |  | Jacketed |  | No | No | Yes | No | Double-walled | Pressure | Flexible |  | Flexible |  | Single-walled | Fiberglass |  | None |  | None | Fiberglass |  | None |  | Steel |  | None |  | Yes | Yes | No | Single-walled | Fiberglass |  | No | No | Yes |  | Elizabeth Orizaga | Compliance Coordinator | Annually |  | Site Plan Previously Submitted | Yes | Dry | Veeder Root | TLS 350R | Veeder Root | 420 | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Dry | Veeder Root | TLS 350R | Veeder Root | 208 | Yes | Yes | Yes | Vaporless | LDI2000 | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  | Veeder Root | TLS 350 | Veeder Root | 208 | Yes | Yes | Yes | No | Single-walled |  |  | No | Yes | Yes | Yes | Yes | Yes | No | No | No | No | Yes | Yes | [8 empty] | Yes |  | Patrick Pergamit | Compliance Manager | Amanda Appelt | Environmental Manager | Authorized Representative of Owner |  | Elizabeth Orizaga | Compliance Coordinator | 2022-02-03 09:39 | 2022-02-03 10:42 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10112773 | 49-002-600508 | Flyers Energy LLC | 90000064 | Flyers # 476 | 1221 Healdsburg Ave | Healdsburg | 95448 | Confirmed/Updated Information | 4 | 10112773-004 | Modern Welding | One in a Compartmented Unit | 5000 | 2001-05-01 |  |  | 2 |  | Motor Vehicle Fueling |  | Diesel | Dyed Diesel |  | Double Wall | Steel |  | Jacketed |  | No | No | Yes | No | Double-walled | Pressure | Flexible |  | Flexible |  | Single-walled | Fiberglass |  | None |  | None | Fiberglass |  | None |  | Steel |  | None |  | Yes | Yes | No | Single-walled | Fiberglass |  | No | No | Yes |  | Elizabeth Orizaga | Compliance Coordinator | Annually |  | Site Plan Previously Submitted | Yes | Dry | Veeder Root | TLS 350R | Veeder Root | 420 | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Dry | Veeder Root | TLS 350R | Veeder Root | 208 | Yes | Yes | Yes | Vaporless | LDI2000 | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  | Veeder Root | TLS 350 | Veeder Root | 208 | Yes | Yes | Yes | No | Single-walled |  |  | No | Yes | Yes | Yes | Yes | Yes | No | No | No | No | Yes | Yes | [8 empty] | Yes |  | Patrick Pergamit | Compliance Manager | Amanda Appelt | Environmental Manager | Authorized Representative of Owner |  | Elizabeth Orizaga | Compliance Coordinator | 2022-02-03 09:39 | 2022-02-03 10:42 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10112773 | 49-002-600508 | Flyers Energy LLC | 90000064 | Flyers # 476 | 1221 Healdsburg Ave | Healdsburg | 95448 | Confirmed/Updated Information | 3 | 10112773-003 | Modern Welding | One in a Compartmented Unit | 15000 | 2001-05-01 |  |  | 2 |  | Motor Vehicle Fueling |  | Diesel |  |  | Double Wall | Steel |  | Jacketed |  | No | No | Yes | No | Double-walled | Pressure | Flexible |  | Flexible |  | Single-walled | Fiberglass |  | None |  | None | Fiberglass |  | None |  | Steel |  | None |  | Yes | Yes | No | Single-walled | Fiberglass |  | No | No | Yes |  | Elizabeth Orizaga | Compliance Coordinator | Annually |  | Site Plan Previously Submitted | Yes | Dry | Veeder Root | TLS 350R | Veeder Root | 420 | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Dry | Veeder Root | TLS 350R | Veeder Root | 208 | Yes | Yes | Yes | Vaporless | LDI2000 | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  | Veeder Root | TLS 350 | Veeder Root | 208 | Yes | Yes | Yes | No | Single-walled |  |  | No | Yes | Yes | Yes | Yes | Yes | No | No | No | No | Yes | Yes | [8 empty] | Yes |  | Patrick Pergamit | Compliance Manager | Amanda Appelt | Environmental Manager | Authorized Representative of Owner |  | Elizabeth Orizaga | Compliance Coordinator | 2022-02-03 09:39 | 2022-02-03 10:42 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10112773 | 49-002-600508 | Flyers Energy LLC | 90000064 | Flyers # 476 | 1221 Healdsburg Ave | Healdsburg | 95448 | Confirmed/Updated Information | 2 | 10112773-002 | Modern Welding | One in a Compartmented Unit | 8000 | 2001-05-01 |  |  | 2 |  | Motor Vehicle Fueling |  | Premium Unleaded |  |  | Double Wall | Steel |  | Jacketed |  | No | No | Yes | No | Double-walled | Pressure | Flexible |  | Flexible |  | Single-walled | Fiberglass |  | None |  | None | Fiberglass |  | None |  | Steel |  | None |  | Yes | Yes | No | Single-walled | Fiberglass |  | No | No | Yes |  | Elizabeth Orizaga | Compliance Coordinator | Annually |  | Site Plan Previously Submitted | Yes | Dry | Veeder Root | TLS 350R | Veeder Root | 420 | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Dry | Veeder Root | TLS 350R | Veeder Root | 208 | Yes | Yes | Yes | Vaporless | LDI2000 | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  | Veeder Root | TLS 350 | Veeder Root | 208 | Yes | Yes | Yes | No | Single-walled |  |  | No | Yes | Yes | Yes | Yes | Yes | No | No | No | No | Yes | Yes | [8 empty] | Yes |  | Patrick Pergamit | Compliance Manager | Amanda Appelt | Environmental Manager | Authorized Representative of Owner |  | Elizabeth Orizaga | Compliance Coordinator | 2022-02-03 09:39 | 2022-02-03 10:42 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10112785 | 49-002-600098 | City of Healdsburg | 90000199 | Healdsburg Airport | 1500 Lytton Springs Rd | Healdsburg | 95448 | Confirmed/Updated Information | 001 | 10112785-001 | STI-Act100 | One in a Compartmented Unit | 8000 | 2000-01-05 |  |  | 2 | Tanks are manifolded. | Aviation Fueling |  | Aviation Gas |  |  | Double Wall | Steel |  | Jacketed |  | No | No | Yes | No | Double-walled | Pressure | Flexible |  | Flexible |  | Single-walled | Fiberglass |  | None |  | None | None |  | None |  | Steel |  | None |  | Yes | Yes | No | Single-walled | Fiberglass |  | No | No | Yes |  | Linda Collister | Fire Marshal | Annually |  | New Plan Submitted | Yes | Dry | Veeder-Root | TLS 350 | Veeder-Root | 420 | No | [8 empty] | No | No |  | No |  |  | No |  | No | [7 empty] | Yes | Vaporless | LD2000 | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  | Veeder-Root | TLS 350 | Veeder-Root | 208 | Yes | Yes | Yes | No | Single-walled |  |  | No | Yes | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | [7 empty] | Spill Response | Yes |  | Larry Zimmer | Public Wokrs Director | Barry Halloway | Operator | Authorized Representative of Owner |  | Linda Collister | Fire Marshal | 2022-02-24 23:05 | 2022-05-04 09:38 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10112785 | 49-002-600098 | City of Healdsburg | 90000199 | Healdsburg Airport | 1500 Lytton Springs Rd | Healdsburg | 95448 | Renewal Permit | 002 | 10112785-002 | STI-Act100 | One in a Compartmented Unit | 12000 | 2000-01-05 |  |  | 2 | Tanks are manifolded. | Aviation Fueling |  | Aviation Gas |  |  | Double Wall | Steel |  | Jacketed |  | No | No | Yes | No | Double-walled | Pressure | Flexible |  | Flexible |  | Single-walled | Fiberglass |  | None |  | None | None |  | None |  | Steel |  | None |  | Yes | Yes | No | Single-walled | Fiberglass |  | No | No | Yes |  | Linda Collister | Fire Marshal | Annually |  | New Plan Submitted | Yes | Dry | Veeder-Root | TLS 350 | Veeder-Root | 420 | No | [8 empty] | No | No |  | No |  |  | No |  | No | [7 empty] | Yes | Vaporless | LD2000 | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  | Veeder-Root | TLS 350 | Veedter-Root | 208 | Yes | Yes | Yes | No | Single-walled |  |  | No | Yes | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | [7 empty] | Spill Response | Yes |  | Larry Zimmer | Public Works Director | Barry Halloway | Contract Operator | Authorized Representative of Owner |  | Linda Collister | Fire Marshal | 2022-02-24 23:05 | 2022-05-04 09:38 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10112884 | 49-002-600115 | HEALDSBURG DISTRICT HOSPITAL | 90039271 | HEALDSBURG DISTRICT HOSPITAL | 1375 UNIVERSITY AVE | HEALDSBURG | 95448 | Renewal Permit | 001 | 10112884-001 | UNKNOWN | A Stand-alone Tank | 1000 | 1988-08-07 |  |  | 1 |  | Emergency Generator Fuel |  | Diesel |  |  | Double Wall | Steel |  | Jacketed |  | No | No | Yes | No | Double-walled | Conventional Suction | Flexible |  | Flexible |  | Single-walled | Fiberglass |  | None |  | None | None |  | None |  | Fiberglass |  | None |  | Yes | No | No | No Dispensers |  |  | No | No | Yes |  | GARY SCHILLING | FACILTY SERVICE DIRECTOR | Annually |  | New Plan Submitted | No | [5 empty] | Yes | INCON TS550 | TSP-LL2-1 | INCON | TSP-LL2-1 | Weekly |  | 0.2 GPH |  | No | No |  | No |  |  | Yes |  | No | [7 empty] | No |  |  | No | [5 empty] | No |  |  | No |  | No | No | No |  | No Dispensers | [12 empty] | No | Yes | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | [8 empty] | Yes |  | Darian Harris | CEO | Brian Seekins | Director, Plant Operations | Authorized Representative of Owner |  | GARY SHILLING |  | 2021-10-25 16:39 | 2021-10-26 15:51 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10112935 | 49-002-600351 | Robinson Oil Corporation | 90167674 | Rotten Robbie #63 | 535 Healdsburg Ave | Healdsburg | 95448 | Confirmed/Updated Information | 63-05-01 | 10112935-001 | Xerxes | A Stand-alone Tank | 20000 | 2005-04-15 |  |  | 1 |  | Motor Vehicle Fueling |  | Regular Unleaded |  |  | Double Wall | Fiberglass |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Fiberglass |  | Fiberglass |  | Double-walled | Fiberglass |  | Fiberglass |  | Double-walled | Fiberglass |  | Fiberglass |  | Steel |  | Fiberglass |  | Yes | Yes | Yes | Double-walled | Fiberglass |  | No | No | No |  | David C. Mordick | Enviro. Compliance Mgr. | Annually |  | Site Plan Previously Submitted | Yes | Liquid-Filled | Veeder Root | TLS 350 | Veeder Root | 794380-302 | Yes | Veeder Root | TLS 350 | Veeder Root | MAG | Daily/Nightly |  | 0.2 GPH |  | Yes | No |  | Yes | Annually |  | No |  | Yes | Under Vacuum | Veeder Root | TLS 350 | Veeder Root | 794380-208/340 | Yes | Yes | Yes | Vaporless | LD2000 | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  | Veeder Root | TLS 350 | Veeder Root | 794380-208/304 | Yes | Yes | Yes | Yes | Double-walled | Liquid | Yes | No | Yes | Yes | Yes | No | Yes | No | No | Yes | No | Yes | Yes | [8 empty] | Yes |  | Parasto Farasati | Station Manager | Chad Carter | Area Manager, Designated Operator | Facility Owner/Operator |  | David C. Mordick | Enviro. Complaince Mgr. | 2021-03-05 14:27 | 2021-03-05 16:01 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10112935 | 49-002-600351 | Robinson Oil Corporation | 90167674 | Rotten Robbie #63 | 535 Healdsburg Ave | Healdsburg | 95448 | Confirmed/Updated Information | 63-96-02 | 10112935-002 | Trusco | A Stand-alone Tank | 12000 | 1996-06-15 |  |  | 1 |  | Motor Vehicle Fueling |  | Premium Unleaded |  |  | Double Wall | Steel |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Fiberglass |  | Fiberglass |  | Double-walled | Fiberglass |  | Fiberglass |  | Single-walled | Fiberglass |  | Fiberglass |  | Steel |  | Fiberglass |  | Yes | Yes | Yes | Double-walled | Fiberglass |  | No | No | No |  | David C. Mordick | Enviro. Compliance Mgr. | Annually |  | Site Plan Previously Submitted | Yes | Dry | Veeder Root | TLS 350 | Veeder Root | 794390-420 | Yes | Veeder Root | TLS 350 | Veeder Root | MAG | Daily/Nightly |  | 0.2 GPH |  | Yes | No |  | Yes | Annually |  | No |  | Yes | Under Vacuum | Veeder Root | TLS 350 | Veeder Root | 794380-208 | Yes | Yes | Yes | FE Petro | MLD | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  | Veeder Root | TLS 350 | Veeder Root | 794380-208/304 | Yes | Yes | Yes |  | Double-walled | Liquid | Yes | No | Yes | Yes | Yes | No | Yes | No | No | Yes | No | Yes | Yes | [8 empty] | Yes |  | Parasto Farasati | Station Manager | Chad Carter | Area Manager, Designated Operator | Facility Owner/Operator |  | David C. Mordick | Enviro. Complaince Mgr. | 2021-03-05 14:27 | 2021-03-05 16:01 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10112935 | 49-002-600351 | Robinson Oil Corporation | 90167674 | Rotten Robbie #63 | 535 Healdsburg Ave | Healdsburg | 95448 | Confirmed/Updated Information | 63-96-03 | 10112935-003 | Trusco | A Stand-alone Tank | 12000 | 1996-06-15 |  |  | 1 |  | Motor Vehicle Fueling |  | Diesel |  |  | Double Wall | Steel |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Fiberglass |  | Fiberglass |  | Double-walled | Fiberglass |  | Fiberglass |  | Single-walled | Fiberglass |  | Fiberglass |  | Fiberglass |  | Fiberglass |  | Yes | Yes | Yes | Double-walled | Fiberglass |  | No | No | No |  | David C. Mordick | Enviro. Compliance Mgr | Annually |  | Site Plan Previously Submitted | Yes | Dry | Veeder Root | TLS 350 | Veeder Root | 794390-420 | Yes | Veeder Root | TLS 350 | Veeder Root | MAG | Daily/Nightly |  | 0.2 GPH |  | Yes | No |  | Yes | Annually |  | No |  | Yes | Under Vacuum | Veeder Root | TLS 350 | Veeder Root | 794380-208 | Yes | Yes | Yes | FE Petro | MLD | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  | Veeder Root | TLS 350 | Veeder Root | 794380-208/304 | Yes | Yes | Yes |  | Double-walled | Liquid | Yes | No | Yes | Yes | Yes | No | Yes | No | No | Yes | No | Yes | Yes | [8 empty] | Yes |  | Parasto Farasati | Station Manager | Chad Carter | Area Manager, Designated Operator | Facility Owner/Operator |  | David C. Mordick | Enviro. Complaince Mgr. | 2021-03-05 14:27 | 2021-03-05 16:01 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10113004 | 49-005-600153 | PACIFIC BELL TELEPHONE COMPANY dba AT&T CALIFORNIA | 90002299 | AT&T California - TD096 | 7430 Bodega Ave | Sebastopol | 95472 | Confirmed/Updated Information | TD096U001 | 10113004-001 | Joor | A Stand-alone Tank | 2000 | 1988-01-01 |  |  | 1 | Northwest corner outside of building. | Emergency Generator Fuel |  | Diesel |  |  | Double Wall | Steel |  | Other |  | Yes | No | No | No | Double-walled | Conventional Suction | Flexible |  | Flexible |  | Single-walled | Fiberglass |  | Fiberglass |  | None | None |  | None |  | Steel |  | Fiberglass |  | Yes | Yes | Yes | No Dispensers |  |  | No | No | Yes |  | Sarah Bullock | Authorized Agent to AT&T | Annually |  | New Plan Submitted | Yes | Dry | Veeder-Root | TLS-350 Plus | Veeder-Root | 794390-420 | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Dry | Veeder-Root | TLS-350 Plus | Veeder-Root | 794380-208 | No | No | No |  |  | No | [5 empty] | No |  |  | Yes |  | No | No | No |  | No Dispensers | [12 empty] | No | Yes | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | [7 empty] | UST Monitoring Plan, Operating Manuals | Yes | (L1)Annular Space 794390-420;(L2)Piping Sump,(L3) Transition Sump,(L4)Generator Room 794380-208. | Tait Environmental Services | AT&T Authorized Vendor | AT&T Environmental Health and Safety | Call Center | Authorized Representative of Owner |  | Sarah Bullock | Authorized Agent to AT&T | 2024-04-01 10:41 | 2024-04-24 16:38 | Lance Macdonald | Healdsburg/Sebastopol JPA | CUPA
10113028 | 49-002-600240 | Redwood Oil Company, Inc. | 90370903 | Sebastopol Chevron | 5640 Sebastopol Rd. | Sebastopol | 95472 | Confirmed/Updated Information | regular unleaded | 10113028-001 | modern welding | A Stand-alone Tank | 20000 | 1998-02-01 |  |  | 1 |  | Motor Vehicle Fueling |  | Regular Unleaded |  |  | Double Wall | Steel |  | Jacketed |  | No | No | Yes | No | Double-walled | Pressure | Flexible |  | Flexible |  | Single-walled | Steel |  | Fiberglass |  | None | Steel |  | Fiberglass |  | Steel |  | Fiberglass |  | Yes | Yes | No | Single-walled | Rigid Plastic |  | No | No | Yes |  | Lynn Damato | administrator | Annually |  | Site Plan Previously Submitted | Yes | Dry | Veeder Root | TLS 350R | Veeder Root | TLS 350R | Yes | Veeder Root | Veeder Root TLS350R | Veeder Root | Mag-1 | Continuous |  | 0.2 GPH |  | No | No |  | No |  |  | No |  | Yes | Dry | Veeder Root | TLS 350R | Veeder Root | 794380-208 | Yes | Yes | Yes | Vaporless manufacturing | LLD2000 | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  |  |  | Beaudreau Mfg | 404-4 | No | No | No | Yes | Single-walled |  |  | No | Yes | Yes | Yes | Yes | Yes | No | No | No | No | Yes | Yes | [8 empty] | Yes |  | Erika Gonzalez | Manager | Tracy Hamm | District manager | Authorized Representative of Owner |  | Lynn Damato | Administrator | 2023-02-07 11:45 | 2023-10-05 09:44 | Lance Macdonald | Healdsburg/Sebastopol JPA | CUPA
10113028 | 49-002-600240 | Redwood Oil Company, Inc. | 90370903 | Sebastopol Chevron | 5640 Sebastopol Rd. | Sebastopol | 95472 | Confirmed/Updated Information | diesel | 10113028-003 | modern welding | One in a Compartmented Unit | 8000 | 1998-02-01 |  |  | 2 |  | Motor Vehicle Fueling |  | Regular Unleaded |  |  | Double Wall | Steel |  | Jacketed |  | No | No | Yes | No | Double-walled | Pressure | Flexible |  | Flexible |  | Single-walled | Steel |  | Fiberglass |  | None | Steel |  | Fiberglass |  | Steel |  | Fiberglass |  | Yes | Yes | No | Single-walled | Rigid Plastic |  | No | No | Yes |  | Lynn Damato | administrator | Annually |  | Site Plan Previously Submitted | Yes | Dry | Veeder Root | TLS 350R | Veeder Root | TLS 350R | Yes | Veeder Root | Veeder Root TLS350R | Veeder Root | Mag-1 | Continuous |  | 0.2 GPH |  | No | No |  | No |  |  | No |  | Yes | Dry | Veeder Root | TLS 350R | Veeder Root | 794380-208 | Yes | Yes | Yes | Vaporless manufacturing | LLD2000 | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  |  |  | Beaudreau Mfg | 404-4 | No | No | No | Yes | Single-walled |  |  | No | Yes | Yes | Yes | Yes | Yes | No | No | No | No | Yes | Yes | [8 empty] | Yes |  | Erika Gonzalez | Manager | Tracy Hamm | District manager | Authorized Representative of Owner |  | Lynn Damato | Administrator | 2023-02-07 11:45 | 2023-10-05 09:44 | Lance Macdonald | Healdsburg/Sebastopol JPA | CUPA
10113028 | 49-002-600240 | Redwood Oil Company, Inc. | 90370903 | Sebastopol Chevron | 5640 Sebastopol Rd. | Sebastopol | 95472 | Confirmed/Updated Information | premium unleaded | 10113028-002 | modern welding | One in a Compartmented Unit | 12000 | 1998-02-01 |  |  | 2 |  | Motor Vehicle Fueling |  | Premium Unleaded |  |  | Double Wall | Steel |  | Jacketed |  | No | No | Yes | No | Double-walled | Pressure | Flexible |  | Flexible |  | Single-walled | Steel |  | Fiberglass |  | None | Steel |  | Fiberglass |  | Steel |  | Fiberglass |  | Yes | Yes | No | Single-walled | Rigid Plastic |  | No | No | Yes |  | Lynn Damato | administrator | Annually |  | Site Plan Previously Submitted | Yes | Dry | Veeder Root | TLS 350R | Veeder Root | TLS 350R | Yes | Veeder Root | Veeder Root TLS350R | Veeder Root | Mag-1 | Continuous |  | 0.2 GPH |  | No | No |  | No |  |  | No |  | Yes | Dry | Veeder Root | TLS 350R | Veeder Root | 794380-208 | Yes | Yes | Yes | Vaporless manufacturing | LLD2000 | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  |  |  | Beaudreau Mfg | 404-4 | No | No | No | Yes | Single-walled |  |  | No | Yes | Yes | Yes | Yes | Yes | No | No | No | No | Yes | Yes | [8 empty] | Yes |  | Erika Gonzalez | Manager | Tracy Hamm | District manager | Authorized Representative of Owner |  | Lynn Damato | Administrator | 2023-02-07 11:45 | 2023-10-05 09:44 | Lance Macdonald | Healdsburg/Sebastopol JPA | CUPA
10113073 | 49-002-600198 | Robinson Oil Corporation | 90167674 | ROTTEN ROBBIE #62 | 7200 Healdsburg Ave | Sebastopol | 95472 | Confirmed/Updated Information | 62-98-02(91) | 10113073-002 | Modern Welding | One in a Compartmented Unit | 10000 | 1998-01-01 |  |  | 2 | (2) compartment 12000 gal tank(91) 10000 gal(RedDsl) 2000 gal | Motor Vehicle Fueling |  | Premium Unleaded |  |  | Double Wall | Steel |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Fiberglass |  | Fiberglass |  | Single-walled | Fiberglass |  | Fiberglass |  | Single-walled | Fiberglass |  | Fiberglass |  | Steel |  | Fiberglass |  | Yes | Yes | Yes | Single-walled | Fiberglass |  | No | No | Yes |  | David C. Mordick | Environmental Compliance Manager | Annually |  | Site Plan Previously Submitted | Yes | Dry | Veeder-Root | TLS-350 | Veeder-Root | 794390-420 | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Dry | Veeder-Root | TLS-350 | Veeder-Root | 794380-208 |  |  | No |  |  | Yes | Veeder-Root | Series 8484 (PLLD) | 0.2 GPH | Yes | Yes | No |  |  | No |  | No | No | No |  | Continuous |  |  |  | Veeder-Root | 794380-208 | Yes | Yes | Yes | Yes | Single-walled |  |  | No | Yes | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | [7 empty] | In-House Safety and Compliance Training | Yes |  | Karissa Amante | Station Manager | Chad Carter | Area Manager | Facility Owner/Operator |  | David C. Mordick | Environmental Compliance Manager | 2022-02-14 08:53 | 2022-03-28 12:18 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10113073 | 49-002-600198 | Robinson Oil Corporation | 90167674 | ROTTEN ROBBIE #62 | 7200 Healdsburg Ave | Sebastopol | 95472 | Confirmed/Updated Information | 62-98-01(DS) | 10113073-001 | Modern Welding | A Stand-alone Tank | 12000 | 1998-01-01 |  |  | 1 |  | Motor Vehicle Fueling |  | Diesel |  |  | Double Wall | Steel |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Fiberglass |  | Fiberglass |  | Single-walled | Fiberglass |  | Fiberglass |  | Single-walled | None |  | None |  | Steel |  | Fiberglass |  | Yes | Yes | Yes | Single-walled | Fiberglass |  | No | No | Yes |  | David C. Mordick | Environmental Compliance Manager | Annually |  | Site Plan Previously Submitted | Yes | Dry | Veeder-Root | TLS-350 | Veeder-Root | 794390-420 | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Dry | Veeder-Root | TLS-350 | Veeder-Root | 794380-208 |  |  | No |  |  | Yes | Veeder-Root | Series 8484 (PLLD) | 0.2 GPH | Yes | Yes | No |  |  | No |  | No | No | No |  | Continuous |  |  |  | Veeder-Root | 794380-208 | Yes | Yes | Yes | Yes | Single-walled |  |  | No | Yes | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | [7 empty] | In-House Safety and Compliance Training | Yes |  | Karissa Amante | Station Manager | Chad Carter | Area Manager | Facility Owner/Operator |  | David C. Mordick | Environmental Compliance Manager | 2022-02-14 08:53 | 2022-03-28 12:18 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10113073 | 49-002-600198 | Robinson Oil Corporation | 90167674 | ROTTEN ROBBIE #62 | 7200 Healdsburg Ave | Sebastopol | 95472 | Confirmed/Updated Information | 62-98-05(RD) | 10113073-005 | Modern Welding | One in a Compartmented Unit | 2000 | 1998-01-01 |  |  | 2 | (2) compartment 12000 gal tank(91) 10000 gal(RedDsl) 2000 gal | Motor Vehicle Fueling |  | Diesel | Red Dyed (Off Road) Diesel |  | Double Wall | Steel |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Fiberglass |  | Fiberglass |  | Single-walled | Fiberglass |  | Fiberglass |  | Single-walled | None |  | None |  | Steel |  | Fiberglass |  | Yes | Yes | Yes | Single-walled | Fiberglass |  | No | No | Yes |  | David C. Mordick | Environmental Compliance Manager | Annually |  | Site Plan Previously Submitted | No | [5 empty] | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Dry | Veeder-Root | TLS-350 | Veeder-Root | 794380-208 |  |  | No |  |  | Yes | Veeder-Root | Series 8484 (PLLD) | 0.2 GPH | Yes | Yes | No |  |  | No |  | No | No | No |  | Continuous |  |  |  | Veeder-Root | 794380-208 | Yes | Yes | Yes | Yes | Single-walled |  |  | No | Yes | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | [7 empty] | In-House Safety and Compliance Training | Yes |  | Karissa Amante | Station Manager | Chad Carter | Area Manager | Facility Owner/Operator |  | David C. Mordick | Environmental Compliance Manager | 2022-02-14 08:53 | 2022-03-28 12:18 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10113073 | 49-002-600198 | Robinson Oil Corporation | 90167674 | ROTTEN ROBBIE #62 | 7200 Healdsburg Ave | Sebastopol | 95472 | Confirmed/Updated Information | 62-98-03(87-2) | 10113073-003 | Modern Welding | A Stand-alone Tank | 12000 | 1998-01-01 |  |  | 1 |  | Motor Vehicle Fueling |  | Regular Unleaded |  |  | Double Wall | Steel |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Fiberglass |  | Fiberglass |  | Single-walled | Fiberglass |  | Fiberglass |  | Single-walled | Fiberglass |  | Fiberglass |  | Steel |  | Fiberglass |  | Yes | Yes | Yes | Single-walled | Fiberglass |  | No | No | Yes |  | David C. Mordick | Environmental Compliance Manager | Annually |  | Site Plan Previously Submitted | Yes | Dry | Veeder-Root | TLS-350 | Veeder-Root | 794390-420 | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Dry | Veeder-Root | TLS-350 | Veeder-Root | 794380-208 |  |  | No |  |  | Yes | Veeder-Root | Series 8484 (PLLD) | 0.2 GPH | Yes | Yes | No |  |  | No |  | No | No | No |  | Continuous |  |  |  | Veeder-Root | 794380-208 | Yes | Yes | Yes | Yes | Single-walled |  |  | No | Yes | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | [7 empty] | In-House Safety and Compliance Training | Yes |  | Karissa Amante | Station Manager | Chad Carter | Area Manager | Facility Owner/Operator |  | David C. Mordick | Environmental Compliance Manager | 2022-02-14 08:53 | 2022-03-28 12:18 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10113073 | 49-002-600198 | Robinson Oil Corporation | 90167674 | ROTTEN ROBBIE #62 | 7200 Healdsburg Ave | Sebastopol | 95472 | Confirmed/Updated Information | 62-98-03(87-1) | 10113073-004 | Modern Welding | A Stand-alone Tank | 12000 | 1998-01-01 |  |  | 1 |  | Motor Vehicle Fueling |  | Regular Unleaded |  |  | Double Wall | Steel |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Fiberglass |  | Fiberglass |  | Single-walled | Fiberglass |  | Fiberglass |  | Single-walled | Fiberglass |  | Fiberglass |  | Steel |  | Fiberglass |  | Yes | Yes | Yes | Single-walled | Fiberglass |  | No | No | Yes |  | David C. Mordick | Environmental Compliance Manager | Annually |  | Site Plan Previously Submitted | Yes | Dry | Veeder-Root | TLS-350 | Veeder-Root | 794390-420 | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Dry | Veeder-Root | TLS-350 | Veeder-Root | 794380-208 |  |  | No |  |  | Yes | Veeder-Root | Series 8484 (PLLD) | 0.2 GPH | Yes | Yes | No |  |  | No |  | No | No | No |  | Continuous |  |  |  | Veeder-Root | 794380-208 | Yes | Yes | Yes | Yes | Single-walled |  |  | No | Yes | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | [7 empty] | In-House Safety and Compliance Training | Yes |  | Karissa Amante | Station Manager | Chad Carter | Area Manager | Facility Owner/Operator |  | David C. Mordick | Environmental Compliance Manager | 2022-02-14 08:53 | 2022-03-28 12:18 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10117264 | 49-002-600027 | Zimmerman Fuel | 90051268 | Zimmerman Fuel | 1329 Grove Street | Healdsburg | 95448 | Renewal Permit | 002 | 10117264-002 | Trusco | A Stand-alone Tank | 10000 | 1991-11-01 |  |  | 1 |  | Motor Vehicle Fueling |  | Premium Unleaded |  |  | Double Wall | Steel |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Flexible |  | Flexible |  | Single-walled | Fiberglass |  | None |  | None | Fiberglass |  | None |  | Steel |  | None |  | Yes | Yes | No | Single-walled | Fiberglass |  |  |  | Yes |  | Jackie Zimmerman | Owner | Annually |  | New Plan Submitted | Yes | Dry | Veeder-Root | TLS350 | Veeder-Root | 794390-420 | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Dry | Veeder-Root | TLS350 | Veeder-Root | 794390-420 | Yes | Yes | Yes | VMI | LD-2000 | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  |  |  | Veeder-Root | 794390-420 | Yes | Yes | Yes | Yes | Single-walled |  |  | No | Yes | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | [8 empty] | Yes |  | Mark Zimmerman | Manager |  |  | Facility Owner/Operator |  | Jackie Zimmerman | Owner | 2021-03-05 16:54 | 2021-03-08 17:42 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10117264 | 49-002-600027 | Zimmerman Fuel | 90051268 | Zimmerman Fuel | 1329 Grove Street | Healdsburg | 95448 | Renewal Permit | 004 | 10117264-004 | Trusco | A Stand-alone Tank | 10000 | 1994-05-31 |  |  | 1 |  | Motor Vehicle Fueling |  | Diesel |  |  | Double Wall | Steel |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Flexible |  | Flexible |  | Single-walled | Fiberglass |  | None |  | None | Fiberglass |  | None |  | Steel |  | None |  | Yes | Yes | No | Single-walled | Fiberglass |  |  |  | Yes |  | Jackie Zimmerman | Owner | Annually |  | New Plan Submitted | Yes | Dry | Veeder-Root | TLS350 | Veeder-Root | 794390-420 | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Dry | Veeder-Root | TLS350 | Veeder-Root | 794390-420 | Yes | Yes | Yes | VMI | LD-2000 | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  |  |  | Veeder-Root | 794390-420 | Yes | Yes | Yes | Yes | Single-walled |  |  | No | Yes | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | [8 empty] | Yes |  | Mark Zimmerman | Manager |  |  | Facility Owner/Operator |  | Jackie Zimmerman | Owner | 2021-03-05 16:54 | 2021-03-08 17:42 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10117264 | 49-002-600027 | Zimmerman Fuel | 90051268 | Zimmerman Fuel | 1329 Grove Street | Healdsburg | 95448 | Renewal Permit | 003 | 10117264-003 | Trusco | A Stand-alone Tank | 15000 | 1991-11-01 |  |  | 1 |  | Motor Vehicle Fueling |  | Diesel |  |  | Double Wall | Steel |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Flexible |  | Flexible |  | Single-walled | Fiberglass |  | None |  | None | Fiberglass |  | None |  | Steel |  | None |  | Yes | Yes | No | Single-walled | Fiberglass |  |  |  | Yes |  | Jackie Zimmerman | Owner | Annually |  | New Plan Submitted | Yes | Dry | Veeder-Root | TLS350 | Veeder-Root | 794390-420 | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Dry | Veeder-Root | TLS350 | Veeder-Root | 794390-420 | Yes | Yes | Yes | VMI | LD-2000 | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  |  |  | Veeder-Root | 794390-420 | Yes | Yes | Yes | Yes | Single-walled |  |  | No | Yes | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | [8 empty] | Yes |  | Mark Zimmerman | Manager |  |  | Facility Owner/Operator |  | Jackie Zimmerman | Owner | 2021-03-05 16:54 | 2021-03-08 17:42 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10117264 | 49-002-600027 | Zimmerman Fuel | 90051268 | Zimmerman Fuel | 1329 Grove Street | Healdsburg | 95448 | Renewal Permit | 001 | 10117264-001 | Trusco | A Stand-alone Tank | 10000 | 1991-11-01 |  |  | 1 |  | Motor Vehicle Fueling |  | Regular Unleaded |  |  | Double Wall | Steel |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Flexible |  | Flexible |  | Single-walled | Fiberglass |  | None |  | None | Fiberglass |  | None |  | Steel |  | None |  | Yes | Yes | No | Single-walled | Fiberglass |  |  |  | Yes |  | Jackie Zimmerman | Owner | Annually |  | New Plan Submitted | Yes | Dry | Veeder-Root | TLS350 | Veeder-Root | 794390-420 | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Dry | Veeder-Root | TLS350 | Veeder-Root | 794390-420 | Yes | Yes | Yes | VMI | LD-2000 | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  |  |  | Veeder-Root | 794390-420 | Yes | Yes | Yes | Yes | Single-walled |  |  | No | Yes | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | [8 empty] | Yes |  | Mark Zimmerman | Manager |  |  | Facility Owner/Operator |  | Jackie Zimmerman | Owner | 2021-03-05 16:54 | 2021-03-08 17:42 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10121191 | 49-002-600163 | Patterson Automotive | 90623761 | Patterson Automotive Repair | 720 S. Main St. | Sebastopol | 95472 | UST Removal | 1 | 10121191-004 |  | A Stand-alone Tank | 8000 | 1899-12-31 | 2014-02-20 |  | 1 | This is a Proxy submittal on behalf of business to report tank closure as requested by the waterboards. | Motor Vehicle Fueling |  | Regular Unleaded |  |  | Double Wall | Steel |  | Steel |  | Yes | No | No | No | Double-walled | Pressure | Fiberglass |  | Fiberglass |  | Single-walled | Fiberglass |  | Fiberglass |  | None | Fiberglass |  | Fiberglass |  | Steel |  | Steel |  | Yes | Yes | No | Single-walled | Fiberglass |  | Yes | No | No |  |  |  | Annually |  | Site Plan Previously Submitted | Yes | Dry | Gilbarco EMC | 350 | Veeder-root | 420 | Yes | Gilbraco | 350 | Veeder-Root | Mag-Prob | Continuous |  | 0.2 GPH |  | No | No |  | No |  |  | No |  | Yes | Dry | Gilbarco | 350 | Veeder-Root | 208 | Yes | Yes | Yes | VMI, FE Petro | 2000 | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  | Gilbarco | 350 | Veeder-root | 208 | Yes | Yes | Yes | Yes | Single-walled |  |  | No | Yes | Yes | Yes | No | No | No | No | No | No | No | Yes | [8 empty] | Yes |  | Kambiz Kafai | Owner | Randy Johnson | Equipment Maintenance |  |  |  |  | 2023-02-23 11:36 | 2023-02-23 11:46 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10121191 | 49-002-600163 | Patterson Automotive | 90623761 | Patterson Automotive Repair | 720 S. Main St. | Sebastopol | 95472 | UST Removal | 2 | 10121191-005 |  | A Stand-alone Tank | 8000 | 1899-12-31 | 2014-02-20 |  | 1 | This is a Proxy submittal on behalf of business to report tank closure as requested by the waterboards. | Motor Vehicle Fueling |  | Premium Unleaded |  |  | Double Wall | Steel |  | Steel |  | Yes | No | No | No | Double-walled | Pressure | Fiberglass |  | Fiberglass |  | Single-walled | Fiberglass |  | Fiberglass |  | None | Fiberglass |  | Fiberglass |  | Steel |  | None |  | Yes | Yes | No | Single-walled | Fiberglass |  | Yes | No | No |  |  |  | Annually |  | Site Plan Previously Submitted | Yes | Dry | Gilbarco EMC |  | Veeder-root | 420 | Yes | Gilbraco | 350 | Veeder-Root | Mag-Prob | Continuous |  | 0.2 GPH |  | No | No |  | No |  |  | No |  | Yes | Dry | Gilbarco | 350 | Veeder-Root | 208 | Yes | Yes | Yes | VMI, FE Petro | 2000 | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  | Gilbarco | 350 | Veeder-root | 208 | Yes | Yes | Yes | Yes | Single-walled |  |  | No | No | No | Yes | No | No | No | No | No | No | No | Yes | [8 empty] | No |  | Kambiz Kafai | Owner | Randy Johnson | Equipment Maintenance |  |  |  |  | 2023-02-23 11:36 | 2023-02-23 11:46 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10121191 | 49-002-600163 | Patterson Automotive | 90623761 | Patterson Automotive Repair | 720 S. Main St. | Sebastopol | 95472 | UST Removal | 3 | 10121191-006 |  | A Stand-alone Tank | 8000 | 1899-12-31 | 2014-02-20 |  | 1 | This is a Proxy submittal on behalf of business to report tank closure as requested by the waterboards. | Motor Vehicle Fueling |  | Diesel |  |  | Double Wall | Steel |  | Steel |  | Yes | No | No | No | Double-walled | Pressure | Fiberglass |  | Fiberglass |  | Single-walled | Fiberglass |  | Fiberglass |  | None | Fiberglass |  | Fiberglass |  | Steel |  | None |  | Yes | Yes | No | Single-walled | Fiberglass |  | Yes | No | No |  |  |  | Annually |  | Site Plan Previously Submitted | Yes | Dry | Gilbarco EMC | 350 | Veeder-root | 420 | Yes | Gilbraco | 350 | Veeder-Root | Mag-Prob | Continuous |  |  |  | No | No |  | No |  |  | No |  | Yes | Dry | Gilbarco | 350 | Veeder-Root | 208 | Yes | Yes | No |  |  | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  | Gilbarco | 350 | Veeder-root | 208 | Yes | Yes | Yes | Yes | Single-walled |  |  | No | Yes | Yes | Yes | No | No | No | No | No | No | No | Yes | [8 empty] | No |  | Kambiz Kafai | Owner | Randy Johnson | Equipment Maintenance |  |  |  |  | 2023-02-23 11:36 | 2023-02-23 11:46 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10122994 | 49-002-600351 | HEALDSBURG GAS MART | 90072418 | HEALDSBURG GAS MART, INC | 1281 HEALDSBURG AVE. | HEALDSBURG | 95448 | Confirmed/Updated Information | T-2 | 10122994-002 | Plasteel (Formerly Joor) | A Stand-alone Tank | 20000 | 2006-01-01 |  |  | 1 | Plasteel® Double Wall Elutron® Jacketed Tank:The inner primary steel tank is assembled, welded and tested for tightness. The primary steel tank provides the underground structural performance for the Plasteel® Double Wall Elutron® Jacketed Tank. The aluminum foil stand-off material and outer fiberglass reinforced plastic (FRP) secondary containment jacket are applied 360° around the inner primary tank creating an interstitial space. | Motor Vehicle Fueling |  | Regular Unleaded |  |  | Double Wall | Steel |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Fiberglass |  | Fiberglass |  | Double-walled | Fiberglass |  | Fiberglass |  | Double-walled | Fiberglass |  | Fiberglass |  | Steel |  | Fiberglass |  | Yes | Yes | Yes | Double-walled | Fiberglass |  | No | No | Yes |  | Kulwant Singh | Owner | Annually |  | Site Plan Previously Submitted | Yes | Under Vacuum | Veeder Root | TLS 350 | Veeder Root | Vacuum Sensor / 794390-420 Liquid | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Under Vacuum | Veeder Root | TLS 350 | Veeder Root | Vacuum and Liquid Sensor 794380-208 | Yes | Yes | Yes | FE Petro | STP-MLD | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  | Veeder Root | TLS 350 | Veeder Root | 794380-208 and 304 | Yes | Yes | Yes | Yes | Double-walled | Liquid | Yes | No | No | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | [7 empty] | EPA Guides: Must for UST's; Release Detection for UST's; Managing Hazardous Waste | Yes |  | Kulwant Singh | Owner | Satnam Singh | Associate | Facility Owner/Operator |  | Kulwant Singh | Owner | 2023-01-05 07:01 | 2023-10-05 09:58 | Lance Macdonald | Healdsburg/Sebastopol JPA | CUPA
10122994 | 49-002-600351 | HEALDSBURG GAS MART | 90072418 | HEALDSBURG GAS MART, INC | 1281 HEALDSBURG AVE. | HEALDSBURG | 95448 | Confirmed/Updated Information | T-4 | 10122994-004 | Plasteel (formerly Joor) | One in a Compartmented Unit | 4000 | 2006-01-01 |  |  | 3 | Plasteel® Double Wall Elutron® Jacketed Tank:he inner primary steel tank is assembled, welded and tested for tightness. The primary steel tank provides the underground structural performance for the Plasteel® Double Wall Elutron® Jacketed Tank. The aluminum foil stand-off material and outer fiberglass reinforced plastic (FRP) secondary containment jacket are applied 360° around the inner primary tank creating an interstitial space. | Motor Vehicle Fueling |  | E85 |  |  | Double Wall | Steel |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Fiberglass |  | Fiberglass |  | Double-walled | Fiberglass |  | Fiberglass |  | Double-walled | None |  | None |  | Steel |  | Fiberglass |  | Yes | Yes | Yes | Double-walled | Fiberglass |  | No | No | Yes |  | Kulwant Singh | Owner | Annually |  | Site Plan Previously Submitted | Yes | Under Vacuum | Veeder Root | TLS 350 | Veeder Root | Vacuum Sensor / 794390-420 Liquid | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Under Vacuum | Veeder Root | TLS 350 | Veeder Root | Vacuum and Liquid Sensor 794380-208 | Yes | Yes | Yes | FE Petro | STP-MLD | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  | Veeder Root | TLS 350 | Veeder Root | 794380-208 and 304 | Yes | Yes | Yes | Yes | Double-walled | Liquid | Yes | No | No | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | [7 empty] | EPA Guides: Must for UST's; Release Detection for UST's; Managing Hazardous Waste | Yes |  | Kulwant Singh | Owner | Satnam Singh | Associate | Facility Owner/Operator |  | Kulwant Singh | Owner | 2023-01-05 07:01 | 2023-10-05 09:58 | Lance Macdonald | Healdsburg/Sebastopol JPA | CUPA
10122994 | 49-002-600351 | HEALDSBURG GAS MART | 90072418 | HEALDSBURG GAS MART, INC | 1281 HEALDSBURG AVE. | HEALDSBURG | 95448 | Confirmed/Updated Information | T-3 | 10122994-003 | Plasteel (formerly Joor) | One in a Compartmented Unit | 6000 | 2006-01-01 |  |  | 3 | Plasteel® Double Wall Elutron® Jacketed Tank:The inner primary steel tank is assembled, welded and tested for tightness. The primary steel tank provides the underground structural performance for the Plasteel® Double Wall Elutron® Jacketed Tank. The aluminum foil stand-off material and outer fiberglass reinforced plastic (FRP) secondary containment jacket are applied 360° around the inner primary tank creating an interstitial space. | Motor Vehicle Fueling |  | Diesel |  |  | Double Wall | Steel |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Fiberglass |  | Fiberglass |  | Double-walled | Fiberglass |  | Fiberglass |  | Double-walled | None |  | None |  | Steel |  | Fiberglass |  | Yes | Yes | Yes | Double-walled | Fiberglass |  | No | No | Yes |  | Kulwant Singh | Owner | Annually |  | Site Plan Previously Submitted | Yes | Under Vacuum | Veeder Root | TLS 350 | Veeder Root | Vacuum Sensor / 794390-420 Liquid | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Under Vacuum | Veeder Root | TLS 350 | Veeder Root | Vacuum and Liquid Sensor 794380-208 | Yes | Yes | Yes | FE Petro | STP-MLD | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  | Veeder Root | TLS 350 | Veeder Root | 794380-208 and 304 | Yes | Yes | Yes | Yes | Double-walled | Liquid | Yes | No | No | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | [7 empty] | EPA Guides: Must for UST's; Release Detection for UST's; Managing Hazardous Waste | Yes |  | Kulwant Singh | Owner | Satnam Singh | Associate | Facility Owner/Operator |  | Kulwant Singh | Owner | 2023-01-05 07:01 | 2023-10-05 09:58 | Lance Macdonald | Healdsburg/Sebastopol JPA | CUPA
10122994 | 49-002-600351 | HEALDSBURG GAS MART | 90072418 | HEALDSBURG GAS MART, INC | 1281 HEALDSBURG AVE. | HEALDSBURG | 95448 | Confirmed/Updated Information | T-1 | 10122994-001 | Plasteel (formerly Joor) | One in a Compartmented Unit | 10000 | 2006-01-01 |  |  | 3 | Plasteel® Double Wall Elutron® Jacketed Tank:The inner primary steel tank is assembled, welded and tested for tightness. The primary steel tank provides the underground structural performance for the Plasteel® Double Wall Elutron® Jacketed Tank. The aluminum foil stand-off material and outer fiberglass reinforced plastic (FRP) secondary containment jacket are applied 360° around the inner primary tank creating an interstitial space. | Motor Vehicle Fueling |  | Premium Unleaded |  |  | Double Wall | Steel |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Fiberglass |  | Fiberglass |  | Double-walled | Fiberglass |  | Fiberglass |  | Double-walled | Fiberglass |  | Fiberglass |  | Steel |  | Fiberglass |  | Yes | Yes | Yes | Double-walled | Fiberglass |  | No | No | Yes |  | Kulwant Singh | Owner | Annually |  | Site Plan Previously Submitted | Yes | Under Vacuum | Veeder Root | TLS 350 | Veeder Root | Vacuum Sensor / 794390-420 Liquid | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Under Vacuum | Veeder Root | TLS 350 | Veeder Root | Vacuum and Liquid Sensor 794380-208 | Yes | Yes | Yes | FE Petro | STP-MLD | No | [5 empty] | No |  |  | No |  | No | No | No |  | Continuous |  | Veeder Root | TLS 350 | Veeder Root | 794380-208 and 304 | Yes | Yes | Yes | Yes | Double-walled | Liquid | Yes | No | No | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | [7 empty] | EPA Guides: Must for UST's; Release Detection for UST's; Managing Hazardous Waste | Yes |  | Kulwant Singh | Owner | Satnam Singh | Associate | Facility Owner/Operator |  | Kulwant Singh | Owner | 2023-01-05 07:01 | 2023-10-05 09:58 | Lance Macdonald | Healdsburg/Sebastopol JPA | CUPA
10132141 | 49-002-600178 | Sebastopol Fast Gas | 90105079 | Sebastopol Fast Gas | 1080 Gravenstein Hwy S | Sebastopol | 95472 | Confirmed/Updated Information | 002 | 10132141-002 | Owens Corning | A Stand-alone Tank | 9728 | 1999-01-15 |  |  | 1 |  | Motor Vehicle Fueling |  | Regular Unleaded |  |  | Double Wall | Fiberglass |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Fiberglass |  | Fiberglass |  | Single-walled | Fiberglass |  | Fiberglass |  | None | Steel |  | Steel |  | Steel |  | Steel |  | Yes | Yes | No | Single-walled | Steel |  | No | No | No |  |  |  | Annually |  | Site Plan Previously Submitted | Yes | Dry | Veeder Root | TLS350 | Veeder Root | 0794390-420 | No | [8 empty] | No | No |  | Yes | Other |  | No |  | Yes | Dry | Veeder Root | TLS 300 | Veeder Root | 0794380-208 | Yes | Yes | Yes | VMI | LD2000 | No | [5 empty] | Yes | Other |  | No |  | No | No | No |  | Float and Chain Assembly | [5 empty] | Yes | Yes | Yes | No | Single-walled |  |  | No | Yes | Yes | Yes | Yes | Yes | No | Yes | No | No | No | No | [8 empty] | Yes |  | Ali Kazemini | Owner |  |  | Tank Owner/Operator |  | Ali Kazemini | Owner | 2021-09-19 10:45 | 2021-10-04 05:16 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10132141 | 49-002-600178 | Sebastopol Fast Gas | 90105079 | Sebastopol Fast Gas | 1080 Gravenstein Hwy S | Sebastopol | 95472 | Confirmed/Updated Information | 001 | 10132141-001 | Owens Corning | A Stand-alone Tank | 9728 | 1999-01-15 |  |  | 1 |  | Motor Vehicle Fueling |  | Regular Unleaded |  |  | Double Wall | Fiberglass |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Fiberglass |  | Fiberglass |  | Single-walled | Fiberglass |  | Fiberglass |  | None | Steel |  | Steel |  | Steel |  | Steel |  | Yes | Yes | No | Single-walled | Steel |  | No | No | No |  |  |  | Annually |  | Site Plan Previously Submitted | Yes | Dry | Veeder Root | TLS350 | Veeder Root | 0794390-420 | No | [8 empty] | No | No |  | Yes | Other |  | No |  | Yes | Dry | Veeder Root | TLS 300 | Veeder Root | 0794380-208 | Yes | Yes | Yes | VMI | LD2000 | No | [5 empty] | Yes | Other |  | No |  | No | No | No |  | Float and Chain Assembly | [5 empty] | Yes | Yes | Yes | No | Single-walled |  |  | No | Yes | Yes | Yes | Yes | Yes | No | Yes | No | No | No | No | [8 empty] | Yes |  | Ali Kazemini | Owner |  |  | Tank Owner/Operator |  | Ali Kazemini | Owner | 2021-09-19 10:45 | 2021-10-04 05:16 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10132141 | 49-002-600178 | Sebastopol Fast Gas | 90105079 | Sebastopol Fast Gas | 1080 Gravenstein Hwy S | Sebastopol | 95472 | Confirmed/Updated Information | 003 | 10132141-003 | Owens Corning | A Stand-alone Tank | 9728 | 1999-01-15 |  |  | 1 |  | Motor Vehicle Fueling |  | Regular Unleaded |  |  | Double Wall | Fiberglass |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Fiberglass |  | Fiberglass |  | Single-walled | Fiberglass |  | Fiberglass |  | None | Steel |  | Steel |  | Steel |  | Steel |  | Yes | Yes | No | Single-walled | Steel |  | No | No | No |  |  |  | Annually |  | Site Plan Previously Submitted | Yes | Dry | Veeder Root | TLS350 | Veeder Root | 0794390-420 | No | [8 empty] | No | No |  | Yes | Other |  | No |  | Yes | Dry | Veeder Root | TLS 300 | Veeder Root | 0794380-208 | Yes | Yes | Yes | VMI | LD2000 | No | [5 empty] | Yes | Other |  | No |  | No | No | No |  | Float and Chain Assembly | [5 empty] | Yes | Yes | Yes | No | Single-walled |  |  | No | Yes | Yes | Yes | Yes | Yes | No | Yes | No | No | No | No | [8 empty] | Yes |  | Ali Kazemini | Owner |  |  | Tank Owner/Operator |  | Ali Kazemini | Owner | 2021-09-19 10:45 | 2021-10-04 05:16 | Linda Collister | Healdsburg/Sebastopol JPA | CUPA
10133794 | 49-002-600178 | JERRY'S VALERO | 90111502 | JERRY'S VALERO | 186 Dry Creek | Healdsburg | 95448 | Renewal Permit | 003 | 10133794-003 | OWENS CORNING | A Stand-alone Tank | 12000 | 1994-11-01 |  |  | 1 |  | Motor Vehicle Fueling |  | Regular Unleaded |  |  | Double Wall | Fiberglass |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Flexible |  | Flexible |  | Single-walled | Fiberglass |  | Fiberglass |  | Single-walled | Fiberglass |  | Fiberglass |  | Steel |  | None |  | Yes | Yes | Yes | Single-walled | Rigid Plastic |  | No | No | Yes |  | TODD BETH | MANAGER | Annually |  | New Plan Submitted | Yes | Dry | VEEDER-ROOT | TLS 350 | VEEDER-ROOT | VR 794390-407 | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Dry | VEEDER-ROOT | TLS 350 | VEEDER-ROOT | VR 794380-208 | Yes | Yes | No |  |  | Yes | VEEDER-ROOT | VR PLLD 8484 |  | Yes | Yes | No |  |  | No |  | No | No | No |  | Continuous |  | VEEDER-ROOT | TLS 350 | VR 794380-208 |  | Yes | Yes | Yes | Yes | Single-walled |  | Yes | No | Yes | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | [7 empty] | SPILL PREVENTION, EMERGENCY RESPONSE CONTINGENCY PLAN | Yes |  | TODD BETH | MANAGER | JERRY BETH | OWNER | Authorized Representative of Owner |  | TODD BETH | MANAGER | 2022-12-01 10:44 | 2023-06-06 13:01 | Lance Macdonald | Healdsburg/Sebastopol JPA | CUPA
10133794 | 49-002-600178 | JERRY'S VALERO | 90111502 | JERRY'S VALERO | 186 Dry Creek | Healdsburg | 95448 | Renewal Permit | 001 | 10133794-001 | OWENS CORNING | A Stand-alone Tank | 12000 | 1994-11-01 |  |  | 1 |  | Motor Vehicle Fueling |  | Regular Unleaded |  |  | Double Wall | Fiberglass |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Flexible |  | Flexible |  | Single-walled | Fiberglass |  | Fiberglass |  | Single-walled | Fiberglass |  | Fiberglass |  | Steel |  | None |  | Yes | Yes | Yes | Single-walled | Rigid Plastic |  | No | No | Yes |  | TODD BETH | MANAGER | Annually |  | New Plan Submitted | Yes | Dry | VEEDER-ROOT | TLS 350 | VEEDER-ROOT | VR 794390-407 | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Dry | VEEDER-ROOT | TLS 350 | VEEDER-ROOT | VR 794380-208 | Yes | Yes | No |  |  | Yes | VEEDER-ROOT | VR PLLD 8484 |  | Yes | Yes | No |  |  | No |  | No | No | No |  | Continuous |  | VEEDER-ROOT | TLS 350 | VR 794380-208 |  | Yes | Yes | Yes | Yes | Single-walled |  | Yes | No | Yes | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | [7 empty] | SPILL PREVENTION, EMERGENCY RESPONSE CONTINGENCY PLAN | Yes |  | TODD BETH | MANAGER | JERRY BETH | OWNER | Authorized Representative of Owner |  | TODD BETH | MANAGER | 2022-12-01 10:44 | 2023-06-06 13:01 | Lance Macdonald | Healdsburg/Sebastopol JPA | CUPA
10133794 | 49-002-600178 | JERRY'S VALERO | 90111502 | JERRY'S VALERO | 186 Dry Creek | Healdsburg | 95448 | Renewal Permit | 002 | 10133794-002 | 11/1/1994 | A Stand-alone Tank | 12000 | 1994-11-01 |  |  | 1 |  | Motor Vehicle Fueling |  | Premium Unleaded |  |  | Double Wall | Fiberglass |  | Fiberglass |  | No | No | Yes | No | Double-walled | Pressure | Flexible |  | Flexible |  | Single-walled | Fiberglass |  | Fiberglass |  | None | Fiberglass |  | Fiberglass |  | Steel |  | None |  | Yes | Yes | Yes | Single-walled | Rigid Plastic |  | No | No | Yes |  | TODD BETH | MANAGER | Annually |  | New Plan Submitted | Yes | Dry | VEEDER-ROOT | TLS 350 | VEEDER-ROOT | VR 794390-407 | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Dry | VEEDER-ROOT | TLS 350 | VEEDER-ROOT | VR 794380-208 | Yes | Yes | No |  |  | Yes | VEEDER-ROOT | VR PLLD 8484 |  | Yes | Yes | No |  |  | No |  | No | No | No |  | Continuous |  | VEEDER-ROOT | TLS 350 | VR 794380-208 |  | Yes | Yes | Yes | Yes | Single-walled |  | Yes | No | Yes | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | [7 empty] | SPILL PREVENTION, EMERGENCY RESPONSE CONTINGENCY PLAN | Yes |  | TODD BETH | MANAGER | JERRY BETH | OWNER | Authorized Representative of Owner |  | TODD BETH | MANAGER | 2022-12-01 10:44 | 2023-06-06 13:01 | Lance Macdonald | Healdsburg/Sebastopol JPA | CUPA
10399522 | 49-002-600336 | BRENTWOOD GAS & MORE | 90615466 | Healdsburg Chevron & Carwash | 1496 Healdsburg Ave | Healdsburg | 95448 | Confirmed/Updated Information | T-3 | 10399522-003 | MODERN WELDING | One in a Compartmented Unit | 5000 | 2004-06-01 |  |  | 2 |  | Motor Vehicle Fueling |  | Diesel |  |  | Double Wall | Steel |  | Fiberglass |  | Yes | No | No | No | Double-walled | Pressure | Fiberglass |  | Fiberglass |  | Double-walled | Fiberglass |  | Fiberglass |  | Double-walled | Fiberglass |  | Fiberglass |  | Steel |  | None |  | Yes | Yes | Yes | Double-walled | Fiberglass |  | No | No | Yes |  | BALKAR SINGH | OWNER | Annually |  | New Plan Submitted | Yes | Under Vacuum | VEEDER ROOT | TLS 350 | VEEDER ROOT | 794380-208 & 304 AND VACUUM SENSOR | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Under Vacuum | VEEDER ROOT | TLS 350 | VEEDER ROOT | PLLD AND VACUUM SENSOR | Yes | Yes | No |  |  | Yes | VEEDER ROOT | PLLD |  | Yes | Yes | No |  |  | No |  | No | No | No |  | Continuous |  | VEEDER ROOT | TLS 350 | VEEDER ROOT | 794380-208 & 304 | Yes | Yes | Yes | No | Double-walled | Liquid | Yes | No | No | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | [7 empty] | Response Plan & Emergency Response-Contingency Plan | Yes |  | Sukhwinder Singh | Owner/Operator | Sundeep Kaur | Owner/Operator | Facility Owner/Operator |  | BALKAR SINGH | OWNER | 2023-01-05 07:18 | 2023-06-06 14:51 | Lance Macdonald | Healdsburg/Sebastopol JPA | CUPA
10399522 | 49-002-600336 | BRENTWOOD GAS & MORE | 90615466 | Healdsburg Chevron & Carwash | 1496 Healdsburg Ave | Healdsburg | 95448 | Confirmed/Updated Information | T-1 | 10399522-001 | MODERN WELDING | A Stand-alone Tank | 15000 | 2004-06-01 |  |  | 1 |  | Motor Vehicle Fueling |  | Regular Unleaded |  |  | Double Wall | Steel |  | Fiberglass |  | Yes | No | No | No | Double-walled | Pressure | Fiberglass |  | Fiberglass |  | Double-walled | Fiberglass |  | Fiberglass |  | Double-walled | Fiberglass |  | Fiberglass |  | Steel |  | None |  | Yes | Yes | Yes | Double-walled | Fiberglass |  | No | No | Yes |  | BALKAR SINGH | OWNER | Annually |  | New Plan Submitted | Yes | Under Vacuum | VEEDER ROOT | TLS 350 | VEEDER ROOT | 794380-208 & 304 AND VACUUM SENSOR | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Under Vacuum | VEEDER ROOT | TLS 350 | VEEDER ROOT | PLLD AND VACUUM SENSOR | Yes | Yes | No |  |  | Yes | VEEDER ROOT | PLLD |  | Yes | Yes | No |  |  | No |  | No | No | No |  | Continuous |  | VEEDER ROOT | TLS 350 | VEEDER ROOT | 794380-208 & 304 | Yes | Yes | Yes | No | Double-walled | Liquid | Yes | No | No | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | [7 empty] | Response Plan & Emergency Response-Contingency Plan | Yes |  | Sukhwinder Singh | Owner/Operator | Sundeep Kaur | Owner/Operator | Facility Owner/Operator |  | BALKAR SINGH | OWNER | 2023-01-05 07:18 | 2023-06-06 14:51 | Lance Macdonald | Healdsburg/Sebastopol JPA | CUPA
10399522 | 49-002-600336 | BRENTWOOD GAS & MORE | 90615466 | Healdsburg Chevron & Carwash | 1496 Healdsburg Ave | Healdsburg | 95448 | Confirmed/Updated Information | T-2 | 10399522-002 | Modern Welding | One in a Compartmented Unit | 10000 | 2004-06-01 |  |  | 2 |  | Motor Vehicle Fueling |  | Premium Unleaded |  |  | Double Wall | Steel |  | Fiberglass |  | Yes | No | No | No | Double-walled | Pressure | Fiberglass |  | Fiberglass |  | Double-walled | Fiberglass |  | Fiberglass |  | Double-walled | Fiberglass |  | Fiberglass |  | Steel |  | None |  | Yes | Yes | Yes | Double-walled | Fiberglass |  | No | No | Yes |  | BALKAR SINGH | OWNER | Annually |  | New Plan Submitted | Yes | Under Vacuum | VEEDER ROOT | TLS 350 | VEEDER ROOT | 794380-208 & 304 AND VACUUM SENSOR | No | [8 empty] | No | No |  | No |  |  | No |  | Yes | Under Vacuum | VEEDER ROOT | TLS 350 | VEEDER ROOT | PLLD AND VACUUM SENSOR | Yes | Yes | No |  |  | Yes | VEEDER ROOT | PLLD |  | Yes | Yes | No |  |  | No |  | No | No | No |  | Continuous |  | VEEDER ROOT | TLS 350 | VEEDER ROOT | 794380-208 & 304 | Yes | Yes | Yes | No | Double-walled | Liquid | Yes | No | No | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | [7 empty] | Response Plan & Emergency Response-Contingency Plan | Yes |  | Sukhwinder Singh | Owner/Operator | Sundeep Kaur | Owner/Operator | Facility Owner/Operator |  | BALKAR SINGH | OWNER | 2023-01-05 07:18 | 2023-06-06 14:51 | Lance Macdonald | Healdsburg/Sebastopol JPA | CUPA

## UST Cert of Installation & Mod
Facility Identification and Location | [5 empty] | UST Certification Project Type |  |  |  |  | Work Authorized Under Permit |  | Contractor Information |  |  | Certification / Applicant Information | [5 empty] | Submittal / Acceptance Information |  |  | Regulator Information
1a | 1 | 3 | 103 | 104 |  | 483a-1 | 483a-2 | 483a-3 | 483a-4 | 483a-5 | 483b | 483c | 482a | 482b | 482c | 484 | 485 | 486 | 487 | 488 | 489
CERS ID | Facility ID | Facility Name | Facility Street Address | Facility City | Facility ZIP Code | Tank Installation / Replacement | Piping Installation / Replacement | Sump Installation / Replacement | Under Dispenser Containment Installation / Replacement | Other | Work Authorized Under Permit (Number or Date) | Description of Work Being Certified | Name of Contractor Who Performed Installation/ Modification | Contractor's License Number | Contractor's ICC Certification Number | Date Certified | Certifier’s Name | Certifier’s Title | Phone Number | Name of Certifier’s Employer | Certifier’s Relationship to Tank Owner | Date Submitted to CERS | Date Accepted by Regulator | Regulator Agent Name | Regulator Name | Regulator Type